## Result sheet
Method name: 96Well_GrowthCurve_OD600_NUNC
Application: SparkControl |  |  |  | V3.1 SP1
Device: Spark |  |  |  | Serial number: 2208004860
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V7.1.0¦MTP:V14.3.3¦PODI:V3.0.3
Date: |  |  |  | 2025-06-07
Time: |  |  |  | 11:07 AM
System |  |  |  | UMMSAZ-L22947X3
User |  |  |  | UMMSAZ-L22947X3\SysBioLab
Plate |  |  |  | [New_NUN96ft] - Thermo Fisher Scientific-Nunclon 96 Flat Transparent Cat. No.: 269620/269787/439454/442404/475094
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Kinetic
|  | Absorbance |  |  |  | OD600
Shaking
Name |  |  |  | New_NUN96ft
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2025-06-06 13:40:25
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 37
Wait minimum [°C] |  |  |  | 36.5
Wait maximum [°C] |  |  |  | 37.5
End Time |  |  |  | 2025-06-06 13:40:25
Start Time |  |  |  | 2025-06-06 13:40:25
Shaking (Double Orbital) Duration [s] |  |  |  | 10
Shaking (Double Orbital) Position |  |  |  | Current
Shaking (Double Orbital) Amplitude [mm] |  |  |  | 1.5
Shaking (Double Orbital) Frequency [rpm] |  |  |  | 180
End Time |  |  |  | 2025-06-06 13:40:35
Mode | Kinetic
Kinetic duration [hhmmss] |  |  |  | 23:59:59
Interval time [hhmmss] |  |  |  | 00:20:00
Mode | Absorbance
Name | OD600
Measurement wavelength [nm] |  |  |  | 600
Number of flashes |  |  |  | 25
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | A1-H12
Shaking (Double Orbital) Duration |  |  |  | Continuous
Shaking (Double Orbital) Position |  |  |  | Incubation
Shaking (Double Orbital) Amplitude [mm] |  |  |  | 1.5
Shaking (Double Orbital) Frequency [rpm] |  |  |  | 180
Start Time |  |  |  | 2025-06-06 13:40:35
OD600
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 37 | 0.1008 | 0.1004 | 0.1018 | 0.1013 | 0.1025 | 0.1048 | 0.1021 | 0.1028 | 0.1031 | 0.1043 | 0.1014 | 0.1015 | 0.1014 | 0.1009 | 0.1016 | 0.1018 | 0.1031 | 0.1031 | 0.1018 | 0.103 | 0.1038 | 0.1017 | 0.1022 | 0.1026 | 0.101 | 0.101 | 0.1025 | 0.1029 | 0.1031 | 0.1026 | 0.1022 | 0.1034 | 0.1041 | 0.1024 | 0.1018 | 0.1029 | 0.1011 | 0.1024 | 0.1022 | 0.103 | 0.1053 | 0.1029 | 0.1028 | 0.1031 | 0.1036 | 0.1035 | 0.1044 | 0.1052 | 0.0896 | 0.09 | 0.0894 | 0.0946 | 0.0891 | 0.089 | 0.0896 | 0.0898 | 0.0917 | 0.0901 | 0.09 | 0.0907 | 0.0948 | 0.0963 | 0.0893 | 0.0904 | 0.0893 | 0.0901 | 0.0897 | 0.0896 | 0.0902 | 0.0894 | 0.09 | 0.0903 | 0.0889 | 0.09 | 0.0895 | 0.0897 | 0.09 | 0.0898 | 0.0888 | 0.0893 | 0.0911 | 0.0916 | 0.0905 | 0.09 | 0.0887 | 0.0953 | 0.0894 | 0.0913 | 0.091 | 0.0922 | 0.0906 | 0.0893 | 0.09 | 0.0892 | 0.0895 | 0.0889
2 | 1200.012 | 36.9 | 0.1008 | 0.1006 | 0.1021 | 0.1014 | 0.1025 | 0.1048 | 0.1017 | 0.1026 | 0.1028 | 0.1039 | 0.1013 | 0.1012 | 0.1014 | 0.1011 | 0.1014 | 0.1017 | 0.1028 | 0.103 | 0.1014 | 0.1029 | 0.1034 | 0.1013 | 0.1019 | 0.1024 | 0.101 | 0.1011 | 0.1027 | 0.1031 | 0.1036 | 0.1025 | 0.1022 | 0.1033 | 0.1039 | 0.102 | 0.1016 | 0.1025 | 0.101 | 0.1026 | 0.1023 | 0.1031 | 0.105 | 0.1026 | 0.1025 | 0.1026 | 0.1033 | 0.1034 | 0.1053 | 0.1049 | 0.1132 | 0.0891 | 0.0885 | 0.0939 | 0.0884 | 0.089 | 0.0899 | 0.0894 | 0.0914 | 0.0899 | 0.0895 | 0.0902 | 0.0898 | 0.0995 | 0.0901 | 0.0894 | 0.0884 | 0.0895 | 0.0887 | 0.0894 | 0.0897 | 0.089 | 0.0896 | 0.0896 | 0.1075 | 0.0885 | 0.0922 | 0.089 | 0.0891 | 0.0889 | 0.0884 | 0.0889 | 0.0903 | 0.0914 | 0.0899 | 0.0891 | 0.088 | 0.101 | 0.0894 | 0.0907 | 0.0906 | 0.0915 | 0.0898 | 0.0885 | 0.0896 | 0.0888 | 0.089 | 0.0882
3 | 2400.02 | 37 | 0.1018 | 0.1023 | 0.1042 | 0.1034 | 0.1043 | 0.1063 | 0.1032 | 0.1041 | 0.1043 | 0.1053 | 0.1027 | 0.1023 | 0.1023 | 0.1029 | 0.1037 | 0.1039 | 0.1047 | 0.1047 | 0.103 | 0.1042 | 0.1047 | 0.1025 | 0.1031 | 0.1035 | 0.102 | 0.1031 | 0.1049 | 0.1053 | 0.1053 | 0.1045 | 0.1042 | 0.1051 | 0.1057 | 0.1036 | 0.1034 | 0.1044 | 0.1021 | 0.1044 | 0.1045 | 0.1054 | 0.1071 | 0.1046 | 0.1044 | 0.1045 | 0.1051 | 0.105 | 0.1068 | 0.1066 | 0.1441 | 0.0892 | 0.09 | 0.0941 | 0.089 | 0.0891 | 0.09 | 0.0895 | 0.0915 | 0.0901 | 0.0898 | 0.0904 | 0.1033 | 0.1035 | 0.09 | 0.0897 | 0.0887 | 0.0899 | 0.0888 | 0.0896 | 0.0899 | 0.089 | 0.0898 | 0.0899 | 0.1189 | 0.0997 | 0.0918 | 0.0893 | 0.0891 | 0.0892 | 0.0885 | 0.0891 | 0.0905 | 0.0916 | 0.0901 | 0.0894 | 0.0881 | 0.0886 | 0.0888 | 0.091 | 0.0904 | 0.0916 | 0.09 | 0.0887 | 0.0897 | 0.0889 | 0.0892 | 0.0884
4 | 3600.031 | 37 | 0.1039 | 0.1055 | 0.1082 | 0.1073 | 0.1079 | 0.1095 | 0.106 | 0.107 | 0.1069 | 0.1078 | 0.1055 | 0.1043 | 0.1039 | 0.1063 | 0.1082 | 0.108 | 0.1086 | 0.1069 | 0.1057 | 0.107 | 0.1072 | 0.1049 | 0.1055 | 0.1058 | 0.1036 | 0.1066 | 0.1098 | 0.1102 | 0.11 | 0.1094 | 0.1082 | 0.109 | 0.1095 | 0.1072 | 0.107 | 0.108 | 0.1036 | 0.1076 | 0.1093 | 0.1102 | 0.1115 | 0.1091 | 0.1085 | 0.1083 | 0.1088 | 0.1087 | 0.1104 | 0.1101 | 0.1282 | 0.0897 | 0.0905 | 0.0945 | 0.0891 | 0.0894 | 0.0903 | 0.09 | 0.0918 | 0.0905 | 0.0901 | 0.0909 | 0.0991 | 0.0897 | 0.0911 | 0.0901 | 0.0891 | 0.0902 | 0.0892 | 0.0898 | 0.0903 | 0.0895 | 0.0902 | 0.0903 | 0.0951 | 0.09 | 0.0936 | 0.0898 | 0.0896 | 0.0894 | 0.0889 | 0.0894 | 0.091 | 0.0921 | 0.0905 | 0.0897 | 0.0884 | 0.0982 | 0.0893 | 0.0915 | 0.0909 | 0.0922 | 0.0904 | 0.0891 | 0.0901 | 0.0894 | 0.0895 | 0.0889
5 | 4800.036 | 37 | 0.1072 | 0.111 | 0.1156 | 0.1142 | 0.1144 | 0.1149 | 0.1111 | 0.112 | 0.1113 | 0.112 | 0.11 | 0.1074 | 0.1066 | 0.112 | 0.1159 | 0.1156 | 0.1154 | 0.1128 | 0.1109 | 0.1119 | 0.1116 | 0.109 | 0.1096 | 0.1097 | 0.1066 | 0.1127 | 0.1186 | 0.1191 | 0.1188 | 0.1167 | 0.1155 | 0.1161 | 0.1163 | 0.1137 | 0.1133 | 0.1144 | 0.1065 | 0.1133 | 0.118 | 0.1192 | 0.1199 | 0.1168 | 0.1159 | 0.1152 | 0.1155 | 0.115 | 0.1162 | 0.1163 | 0.1151 | 0.0902 | 0.0898 | 0.0953 | 0.0897 | 0.0902 | 0.091 | 0.0905 | 0.0925 | 0.0911 | 0.0907 | 0.0913 | 0.1185 | 0.0981 | 0.0921 | 0.0908 | 0.0897 | 0.0907 | 0.09 | 0.0905 | 0.0909 | 0.09 | 0.0906 | 0.0908 | 0.1026 | 0.101 | 0.0952 | 0.0907 | 0.0902 | 0.0901 | 0.0896 | 0.09 | 0.0916 | 0.0925 | 0.0911 | 0.0902 | 0.089 | 0.0895 | 0.0925 | 0.0923 | 0.0917 | 0.0928 | 0.0911 | 0.0898 | 0.0905 | 0.0899 | 0.0902 | 0.0895
6 | 6000.048 | 37 | 0.1128 | 0.1209 | 0.1289 | 0.1266 | 0.1261 | 0.1251 | 0.1204 | 0.1216 | 0.1195 | 0.1198 | 0.118 | 0.1128 | 0.1107 | 0.1223 | 0.1301 | 0.1295 | 0.1276 | 0.1232 | 0.1203 | 0.1206 | 0.1193 | 0.1164 | 0.1167 | 0.1161 | 0.1116 | 0.1237 | 0.1356 | 0.1363 | 0.1361 | 0.1326 | 0.13 | 0.1301 | 0.1292 | 0.1258 | 0.1256 | 0.127 | 0.1113 | 0.1237 | 0.1348 | 0.1363 | 0.1357 | 0.132 | 0.1301 | 0.1285 | 0.1284 | 0.1274 | 0.1275 | 0.1278 | 0.1181 | 0.0914 | 0.0909 | 0.0965 | 0.0911 | 0.0913 | 0.092 | 0.0916 | 0.0934 | 0.092 | 0.0917 | 0.0922 | 0.1023 | 0.0979 | 0.0938 | 0.092 | 0.0909 | 0.092 | 0.0909 | 0.0915 | 0.0917 | 0.0909 | 0.0915 | 0.0917 | 0.118 | 0.1161 | 0.0984 | 0.0919 | 0.0914 | 0.0913 | 0.0908 | 0.0911 | 0.0925 | 0.0934 | 0.092 | 0.0912 | 0.0896 | 0.0908 | 0.0913 | 0.0937 | 0.0933 | 0.0942 | 0.0925 | 0.0909 | 0.0917 | 0.0909 | 0.0911 | 0.0905
7 | 7200.061 | 37 | 0.1221 | 0.1379 | 0.1512 | 0.1483 | 0.1464 | 0.1425 | 0.1363 | 0.1378 | 0.1332 | 0.1323 | 0.1319 | 0.1215 | 0.1177 | 0.1396 | 0.1544 | 0.1533 | 0.1489 | 0.1413 | 0.1363 | 0.1356 | 0.1327 | 0.1288 | 0.1293 | 0.1276 | 0.1196 | 0.1434 | 0.1663 | 0.1687 | 0.1678 | 0.1616 | 0.1565 | 0.1555 | 0.1537 | 0.1493 | 0.1482 | 0.1493 | 0.1188 | 0.1417 | 0.1653 | 0.1687 | 0.1658 | 0.1609 | 0.1562 | 0.1535 | 0.1519 | 0.1496 | 0.1489 | 0.1491 | 0.1092 | 0.0927 | 0.096 | 0.098 | 0.0927 | 0.0928 | 0.0936 | 0.0929 | 0.0947 | 0.0933 | 0.0929 | 0.0935 | 0.116 | 0.0926 | 0.0963 | 0.0937 | 0.0926 | 0.0935 | 0.0923 | 0.0929 | 0.0931 | 0.0922 | 0.0927 | 0.0929 | 0.1125 | 0.1032 | 0.1009 | 0.0942 | 0.0937 | 0.0934 | 0.0927 | 0.0932 | 0.0945 | 0.0953 | 0.0939 | 0.0932 | 0.1021 | 0.0928 | 0.0937 | 0.096 | 0.0955 | 0.0965 | 0.0946 | 0.0928 | 0.0937 | 0.0927 | 0.0927 | 0.0923
8 | 8400.077 | 37 | 0.1372 | 0.1647 | 0.1853 | 0.1827 | 0.1797 | 0.1713 | 0.1626 | 0.164 | 0.1569 | 0.1538 | 0.1549 | 0.1361 | 0.1285 | 0.1691 | 0.1939 | 0.1915 | 0.1835 | 0.1709 | 0.1625 | 0.1606 | 0.1548 | 0.1496 | 0.1496 | 0.1458 | 0.1328 | 0.179 | 0.2245 | 0.2298 | 0.2296 | 0.2156 | 0.2069 | 0.2031 | 0.1988 | 0.191 | 0.1897 | 0.1896 | 0.1314 | 0.1743 | 0.2229 | 0.2293 | 0.2215 | 0.2136 | 0.206 | 0.1998 | 0.1951 | 0.1915 | 0.188 | 0.1882 | 0.1149 | 0.0944 | 0.0999 | 0.1001 | 0.0946 | 0.0947 | 0.0955 | 0.095 | 0.0966 | 0.0951 | 0.0947 | 0.0953 | 0.104 | 0.0994 | 0.0978 | 0.0957 | 0.0946 | 0.0956 | 0.0944 | 0.0948 | 0.095 | 0.094 | 0.0944 | 0.0946 | 0.1178 | 0.1096 | 0.1044 | 0.0972 | 0.0966 | 0.0962 | 0.0956 | 0.0958 | 0.0971 | 0.0981 | 0.0964 | 0.0956 | 0.1029 | 0.0955 | 0.0999 | 0.0989 | 0.0986 | 0.0994 | 0.0977 | 0.0951 | 0.0963 | 0.0954 | 0.0954 | 0.0948
9 | 9600.095 | 37 | 0.1606 | 0.2044 | 0.2356 | 0.2325 | 0.2272 | 0.2126 | 0.201 | 0.2027 | 0.1904 | 0.1862 | 0.1893 | 0.1585 | 0.1461 | 0.2101 | 0.2487 | 0.2451 | 0.2317 | 0.214 | 0.2016 | 0.1974 | 0.188 | 0.1819 | 0.1804 | 0.1737 | 0.1552 | 0.2338 | 0.2769 | 0.3077 | 0.3272 | 0.3119 | 0.2952 | 0.2879 | 0.2793 | 0.2674 | 0.263 | 0.2622 | 0.1525 | 0.2319 | 0.2774 | 0.3088 | 0.3259 | 0.311 | 0.2929 | 0.2819 | 0.2736 | 0.2652 | 0.2574 | 0.2564 | 0.1176 | 0.0964 | 0.1 | 0.1025 | 0.0974 | 0.0976 | 0.0981 | 0.0975 | 0.0992 | 0.0977 | 0.097 | 0.0977 | 0.1052 | 0.1085 | 0.0972 | 0.0983 | 0.0972 | 0.0983 | 0.097 | 0.0972 | 0.0974 | 0.0963 | 0.0969 | 0.097 | 0.1176 | 0.1246 | 0.1089 | 0.1015 | 0.1008 | 0.1003 | 0.0993 | 0.0991 | 0.1002 | 0.101 | 0.0995 | 0.0987 | 0.1138 | 0.1 | 0.1042 | 0.1036 | 0.103 | 0.1036 | 0.1015 | 0.0983 | 0.0993 | 0.0983 | 0.0983 | 0.0977
10 | 10800.099 | 36.9 | 0.1931 | 0.2117 | 0.2579 | 0.2835 | 0.2871 | 0.2642 | 0.2487 | 0.2513 | 0.2325 | 0.226 | 0.2326 | 0.1857 | 0.1721 | 0.2263 | 0.2717 | 0.2994 | 0.2928 | 0.268 | 0.2501 | 0.2445 | 0.2302 | 0.221 | 0.2199 | 0.2086 | 0.1941 | 0.2311 | 0.3523 | 0.4212 | 0.4213 | 0.4174 | 0.3989 | 0.3945 | 0.3944 | 0.3971 | 0.3846 | 0.3793 | 0.1891 | 0.2352 | 0.3483 | 0.4204 | 0.4298 | 0.4165 | 0.3974 | 0.3915 | 0.3941 | 0.3883 | 0.372 | 0.3686 | 0.1443 | 0.0982 | 0.1014 | 0.1043 | 0.0993 | 0.0998 | 0.1006 | 0.1001 | 0.1017 | 0.1004 | 0.0998 | 0.1003 | 0.115 | 0.103 | 0.0989 | 0.1001 | 0.0994 | 0.1007 | 0.0997 | 0.1 | 0.1 | 0.0989 | 0.0994 | 0.0997 | 0.1265 | 0.126 | 0.1144 | 0.1064 | 0.1061 | 0.1055 | 0.1046 | 0.1044 | 0.1053 | 0.1059 | 0.104 | 0.1034 | 0.1047 | 0.104 | 0.1057 | 0.1085 | 0.1085 | 0.1088 | 0.1068 | 0.1028 | 0.1041 | 0.1027 | 0.1028 | 0.1025
11 | 12000.116 | 37 | 0.2019 | 0.2145 | 0.2874 | 0.3256 | 0.3413 | 0.3256 | 0.3035 | 0.3072 | 0.2802 | 0.2727 | 0.2837 | 0.214 | 0.2067 | 0.224 | 0.2938 | 0.3434 | 0.3481 | 0.3313 | 0.3069 | 0.2985 | 0.2791 | 0.2669 | 0.2668 | 0.2492 | 0.22 | 0.2428 | 0.4853 | 0.587 | 0.5978 | 0.5762 | 0.5473 | 0.5373 | 0.5273 | 0.5184 | 0.5041 | 0.4965 | 0.2201 | 0.2397 | 0.4773 | 0.5827 | 0.593 | 0.5731 | 0.5446 | 0.5312 | 0.5226 | 0.5071 | 0.4881 | 0.4827 | 0.1378 | 0.099 | 0.1028 | 0.1051 | 0.1005 | 0.1008 | 0.1019 | 0.1017 | 0.1032 | 0.1021 | 0.1017 | 0.1023 | 0.1143 | 0.117 | 0.0996 | 0.101 | 0.1004 | 0.1017 | 0.1008 | 0.1016 | 0.1019 | 0.101 | 0.1014 | 0.1019 | 0.1278 | 0.1304 | 0.1222 | 0.1131 | 0.1126 | 0.112 | 0.1111 | 0.1105 | 0.1111 | 0.1115 | 0.1098 | 0.1091 | 0.1138 | 0.1098 | 0.1119 | 0.1151 | 0.1151 | 0.1153 | 0.1133 | 0.1085 | 0.1098 | 0.1083 | 0.108 | 0.1079
12 | 13200.126 | 36.9 | 0.1998 | 0.2214 | 0.3113 | 0.3679 | 0.3923 | 0.3812 | 0.3606 | 0.3672 | 0.3305 | 0.3219 | 0.3366 | 0.2419 | 0.2158 | 0.2266 | 0.3171 | 0.387 | 0.398 | 0.3865 | 0.3698 | 0.3563 | 0.3314 | 0.3159 | 0.3161 | 0.2915 | 0.2167 | 0.2922 | 0.6802 | 0.7719 | 0.7586 | 0.7403 | 0.7102 | 0.6984 | 0.6839 | 0.6722 | 0.6606 | 0.6513 | 0.2168 | 0.2646 | 0.6688 | 0.773 | 0.7631 | 0.7407 | 0.711 | 0.6946 | 0.6844 | 0.6692 | 0.6469 | 0.6388 | 0.1563 | 0.0996 | 0.1041 | 0.1061 | 0.1016 | 0.1022 | 0.1032 | 0.1029 | 0.1049 | 0.1034 | 0.1031 | 0.1037 | 0.1216 | 0.1172 | 0.1002 | 0.1018 | 0.1013 | 0.1029 | 0.1023 | 0.1029 | 0.1031 | 0.1022 | 0.1029 | 0.1034 | 0.1319 | 0.1423 | 0.1313 | 0.1217 | 0.122 | 0.1213 | 0.1204 | 0.1194 | 0.1194 | 0.1195 | 0.1175 | 0.1169 | 0.1089 | 0.1177 | 0.1203 | 0.1242 | 0.125 | 0.125 | 0.1229 | 0.1167 | 0.1179 | 0.1158 | 0.1154 | 0.1155
13 | 14400.135 | 37 | 0.1989 | 0.228 | 0.3265 | 0.3954 | 0.4306 | 0.4206 | 0.4101 | 0.4163 | 0.3789 | 0.3697 | 0.391 | 0.2674 | 0.2123 | 0.2319 | 0.3306 | 0.4135 | 0.4359 | 0.4284 | 0.4132 | 0.4119 | 0.3818 | 0.3634 | 0.3659 | 0.3335 | 0.218 | 0.3906 | 0.7856 | 0.8323 | 0.8113 | 0.7996 | 0.7786 | 0.771 | 0.759 | 0.7509 | 0.745 | 0.7386 | 0.2177 | 0.3366 | 0.7885 | 0.8319 | 0.8171 | 0.8021 | 0.7854 | 0.7754 | 0.7651 | 0.7532 | 0.739 | 0.7326 | 0.1582 | 0.0995 | 0.1045 | 0.1067 | 0.1027 | 0.1036 | 0.1047 | 0.1046 | 0.1063 | 0.1051 | 0.1047 | 0.1054 | 0.1198 | 0.1339 | 0.1008 | 0.1026 | 0.1025 | 0.1043 | 0.1039 | 0.1046 | 0.1048 | 0.104 | 0.1046 | 0.105 | 0.1404 | 0.1575 | 0.1426 | 0.1338 | 0.1355 | 0.1351 | 0.1337 | 0.132 | 0.1315 | 0.1309 | 0.1286 | 0.1282 | 0.1642 | 0.1275 | 0.1316 | 0.1373 | 0.1388 | 0.1391 | 0.1366 | 0.1284 | 0.1297 | 0.127 | 0.1261 | 0.1268
14 | 15600.148 | 37 | 0.2008 | 0.2356 | 0.3401 | 0.4192 | 0.4646 | 0.4576 | 0.4436 | 0.4495 | 0.424 | 0.4156 | 0.4405 | 0.2932 | 0.2114 | 0.2371 | 0.3397 | 0.434 | 0.4691 | 0.4675 | 0.4495 | 0.4463 | 0.43 | 0.4105 | 0.4159 | 0.3735 | 0.2215 | 0.5418 | 0.8226 | 0.8626 | 0.8504 | 0.8316 | 0.811 | 0.8075 | 0.8003 | 0.7992 | 0.7946 | 0.7905 | 0.2207 | 0.4554 | 0.8255 | 0.8633 | 0.8532 | 0.8337 | 0.8168 | 0.8114 | 0.8104 | 0.8054 | 0.7904 | 0.7845 | 0.1535 | 0.0999 | 0.1062 | 0.1078 | 0.1041 | 0.1055 | 0.1066 | 0.1066 | 0.1085 | 0.107 | 0.1069 | 0.1074 | 0.1151 | 0.1301 | 0.1013 | 0.1037 | 0.1041 | 0.1062 | 0.1059 | 0.1066 | 0.1068 | 0.1061 | 0.1066 | 0.1071 | 0.1496 | 0.1721 | 0.1589 | 0.1511 | 0.1539 | 0.1542 | 0.153 | 0.1501 | 0.1488 | 0.1474 | 0.1447 | 0.1443 | 0.1715 | 0.1415 | 0.1473 | 0.1547 | 0.1588 | 0.1591 | 0.1565 | 0.145 | 0.1466 | 0.1429 | 0.1416 | 0.1426
15 | 16800.158 | 37 | 0.2026 | 0.2406 | 0.3501 | 0.4375 | 0.4959 | 0.4922 | 0.4752 | 0.4863 | 0.4535 | 0.4502 | 0.4678 | 0.3157 | 0.2125 | 0.2421 | 0.3474 | 0.4526 | 0.499 | 0.5016 | 0.4808 | 0.4795 | 0.4617 | 0.4473 | 0.4524 | 0.4108 | 0.2278 | 0.7005 | 0.8491 | 0.8956 | 0.8776 | 0.8607 | 0.8387 | 0.8327 | 0.825 | 0.8224 | 0.8166 | 0.8147 | 0.2262 | 0.626 | 0.8509 | 0.8936 | 0.8849 | 0.8635 | 0.8458 | 0.8384 | 0.835 | 0.8291 | 0.8161 | 0.811 | 0.1413 | 0.1003 | 0.1099 | 0.1091 | 0.1059 | 0.1074 | 0.1089 | 0.109 | 0.1109 | 0.1097 | 0.1094 | 0.1099 | 0.1088 | 0.135 | 0.1019 | 0.1049 | 0.1058 | 0.1083 | 0.1084 | 0.1091 | 0.1092 | 0.1084 | 0.1091 | 0.1096 | 0.1637 | 0.1875 | 0.1795 | 0.1745 | 0.1806 | 0.1814 | 0.1801 | 0.1762 | 0.1726 | 0.1704 | 0.1673 | 0.1671 | 0.1713 | 0.16 | 0.168 | 0.1793 | 0.1862 | 0.1873 | 0.1841 | 0.1684 | 0.1699 | 0.1648 | 0.163 | 0.1645
16 | 18000.167 | 37 | 0.205 | 0.2462 | 0.3609 | 0.4554 | 0.5253 | 0.5237 | 0.507 | 0.517 | 0.4843 | 0.4767 | 0.4992 | 0.3386 | 0.2142 | 0.2447 | 0.3547 | 0.4668 | 0.5275 | 0.5322 | 0.5155 | 0.509 | 0.4888 | 0.4767 | 0.4786 | 0.4441 | 0.2393 | 0.742 | 0.8701 | 0.9214 | 0.9071 | 0.886 | 0.8614 | 0.8562 | 0.8461 | 0.8417 | 0.8365 | 0.8348 | 0.2352 | 0.7333 | 0.8685 | 0.9179 | 0.9128 | 0.8922 | 0.8696 | 0.8626 | 0.859 | 0.85 | 0.8378 | 0.8344 | 0.1455 | 0.1016 | 0.1017 | 0.1101 | 0.1078 | 0.1101 | 0.1116 | 0.1118 | 0.114 | 0.1123 | 0.1122 | 0.1131 | 0.121 | 0.1181 | 0.1027 | 0.1061 | 0.1079 | 0.1109 | 0.1113 | 0.1119 | 0.1121 | 0.1113 | 0.1119 | 0.1126 | 0.184 | 0.215 | 0.2086 | 0.2075 | 0.2167 | 0.2187 | 0.2175 | 0.2114 | 0.2055 | 0.2012 | 0.1976 | 0.1979 | 0.1767 | 0.1864 | 0.198 | 0.2142 | 0.2253 | 0.2269 | 0.2227 | 0.201 | 0.2024 | 0.1947 | 0.1922 | 0.1945
17 | 19200.175 | 37 | 0.2073 | 0.2509 | 0.3713 | 0.4718 | 0.5474 | 0.5548 | 0.5356 | 0.5424 | 0.5095 | 0.5021 | 0.5255 | 0.3608 | 0.2174 | 0.2484 | 0.3647 | 0.4827 | 0.552 | 0.5627 | 0.5437 | 0.5375 | 0.5148 | 0.5037 | 0.5091 | 0.4705 | 0.2596 | 0.7721 | 0.886 | 0.9401 | 0.9289 | 0.9045 | 0.8815 | 0.8751 | 0.8674 | 0.8646 | 0.8568 | 0.8547 | 0.252 | 0.7594 | 0.8899 | 0.9364 | 0.9347 | 0.9089 | 0.8888 | 0.8828 | 0.8823 | 0.8731 | 0.8577 | 0.8541 | 0.1646 | 0.1014 | 0.1025 | 0.1116 | 0.1098 | 0.1128 | 0.1147 | 0.1151 | 0.1171 | 0.1157 | 0.1157 | 0.1166 | 0.1224 | 0.1181 | 0.1032 | 0.1077 | 0.11 | 0.1138 | 0.1142 | 0.1152 | 0.1153 | 0.1144 | 0.1152 | 0.116 | 0.2164 | 0.2478 | 0.2479 | 0.2526 | 0.2656 | 0.2683 | 0.2662 | 0.2577 | 0.2495 | 0.2441 | 0.2396 | 0.2399 | 0.2321 | 0.2227 | 0.2384 | 0.2603 | 0.2756 | 0.276 | 0.2722 | 0.2409 | 0.245 | 0.2353 | 0.2313 | 0.2347
18 | 20400.184 | 36.9 | 0.21 | 0.256 | 0.3835 | 0.4874 | 0.5639 | 0.5756 | 0.5588 | 0.5641 | 0.5325 | 0.5232 | 0.5477 | 0.3834 | 0.2199 | 0.2515 | 0.3744 | 0.4962 | 0.5679 | 0.5834 | 0.5667 | 0.5597 | 0.5386 | 0.5268 | 0.5319 | 0.4923 | 0.2955 | 0.7949 | 0.8997 | 0.9561 | 0.9416 | 0.9218 | 0.8992 | 0.8953 | 0.8892 | 0.8856 | 0.8779 | 0.8758 | 0.2817 | 0.7873 | 0.9003 | 0.9518 | 0.9499 | 0.9244 | 0.9072 | 0.9006 | 0.9063 | 0.8943 | 0.8799 | 0.8766 | 0.1617 | 0.1024 | 0.103 | 0.1132 | 0.1126 | 0.1159 | 0.118 | 0.1186 | 0.1207 | 0.1192 | 0.1194 | 0.1204 | 0.1214 | 0.1306 | 0.1041 | 0.1093 | 0.1125 | 0.1167 | 0.1178 | 0.1188 | 0.1188 | 0.1181 | 0.1189 | 0.1199 | 0.254 | 0.2839 | 0.2984 | 0.3057 | 0.3165 | 0.3164 | 0.3132 | 0.304 | 0.2943 | 0.288 | 0.2831 | 0.2829 | 0.2442 | 0.27 | 0.2898 | 0.3159 | 0.3313 | 0.3281 | 0.3238 | 0.2819 | 0.2902 | 0.2795 | 0.2737 | 0.2768
19 | 21600.189 | 37 | 0.2123 | 0.2613 | 0.3941 | 0.4972 | 0.5744 | 0.5899 | 0.5756 | 0.5807 | 0.5516 | 0.5424 | 0.5659 | 0.4043 | 0.2223 | 0.255 | 0.3849 | 0.5075 | 0.5802 | 0.5992 | 0.5841 | 0.5773 | 0.5572 | 0.5452 | 0.5515 | 0.5163 | 0.3579 | 0.7974 | 0.9155 | 0.9669 | 0.9512 | 0.934 | 0.9158 | 0.9112 | 0.9054 | 0.9027 | 0.8967 | 0.8956 | 0.3341 | 0.8018 | 0.9197 | 0.9625 | 0.9651 | 0.9401 | 0.9217 | 0.9163 | 0.9204 | 0.9121 | 0.8981 | 0.896 | 0.1663 | 0.102 | 0.1038 | 0.1148 | 0.1151 | 0.119 | 0.1215 | 0.1223 | 0.1244 | 0.123 | 0.1233 | 0.1243 | 0.1206 | 0.1138 | 0.1047 | 0.1108 | 0.1154 | 0.1203 | 0.1215 | 0.1224 | 0.1227 | 0.1219 | 0.1228 | 0.124 | 0.3053 | 0.3159 | 0.3505 | 0.3577 | 0.3693 | 0.368 | 0.364 | 0.3541 | 0.3429 | 0.3363 | 0.3307 | 0.3302 | 0.3179 | 0.3228 | 0.3444 | 0.372 | 0.3856 | 0.3788 | 0.3754 | 0.3231 | 0.3394 | 0.3273 | 0.3202 | 0.3227
20 | 22800.194 | 37 | 0.2148 | 0.2666 | 0.4054 | 0.5058 | 0.5844 | 0.5988 | 0.5897 | 0.5921 | 0.5669 | 0.5575 | 0.5811 | 0.4246 | 0.224 | 0.2589 | 0.3967 | 0.5171 | 0.5892 | 0.6097 | 0.595 | 0.5906 | 0.5733 | 0.563 | 0.5691 | 0.5338 | 0.4572 | 0.8061 | 0.9108 | 0.99 | 0.9725 | 0.9492 | 0.9289 | 0.9258 | 0.9209 | 0.9186 | 0.9121 | 0.9119 | 0.4198 | 0.8062 | 0.9158 | 0.9841 | 0.9865 | 0.9516 | 0.9369 | 0.9318 | 0.9347 | 0.9282 | 0.9154 | 0.9124 | 0.1381 | 0.1027 | 0.1044 | 0.1163 | 0.118 | 0.1222 | 0.125 | 0.1263 | 0.1283 | 0.127 | 0.1276 | 0.1287 | 0.1134 | 0.1212 | 0.1119 | 0.1126 | 0.118 | 0.1237 | 0.1262 | 0.1267 | 0.1268 | 0.1261 | 0.1268 | 0.1282 | 0.3369 | 0.3617 | 0.4042 | 0.4097 | 0.4169 | 0.4136 | 0.4079 | 0.3986 | 0.3879 | 0.3823 | 0.3774 | 0.3748 | 0.3709 | 0.367 | 0.3928 | 0.4208 | 0.4313 | 0.4217 | 0.4205 | 0.3575 | 0.382 | 0.3713 | 0.3631 | 0.365
21 | 24000.2 | 37 | 0.2175 | 0.2726 | 0.4163 | 0.5133 | 0.5836 | 0.604 | 0.5983 | 0.6002 | 0.5793 | 0.569 | 0.5907 | 0.4427 | 0.2264 | 0.2626 | 0.4085 | 0.5236 | 0.5926 | 0.6157 | 0.6028 | 0.5995 | 0.5857 | 0.5756 | 0.5813 | 0.5487 | 0.6039 | 0.8265 | 0.908 | 0.983 | 0.9927 | 0.9663 | 0.9481 | 0.9434 | 0.9367 | 0.9349 | 0.9279 | 0.9276 | 0.5503 | 0.8193 | 0.9138 | 0.9791 | 0.9962 | 0.9691 | 0.9571 | 0.9473 | 0.9507 | 0.944 | 0.9315 | 0.9289 | 0.1617 | 0.1034 | 0.1051 | 0.1181 | 0.1204 | 0.1257 | 0.1286 | 0.13 | 0.1323 | 0.1312 | 0.1317 | 0.1333 | 0.1441 | 0.1037 | 0.1183 | 0.1143 | 0.1213 | 0.1274 | 0.1294 | 0.1309 | 0.131 | 0.1303 | 0.1313 | 0.1329 | 0.3764 | 0.4037 | 0.4491 | 0.452 | 0.4565 | 0.4508 | 0.4457 | 0.4371 | 0.4261 | 0.4213 | 0.416 | 0.4132 | 0.3735 | 0.4101 | 0.436 | 0.463 | 0.471 | 0.458 | 0.4553 | 0.3871 | 0.4196 | 0.4104 | 0.4028 | 0.4017
22 | 25200.215 | 37 | 0.2193 | 0.2787 | 0.427 | 0.5184 | 0.5905 | 0.6069 | 0.6047 | 0.6049 | 0.5886 | 0.5792 | 0.5984 | 0.4572 | 0.2287 | 0.2672 | 0.4204 | 0.5298 | 0.5946 | 0.6172 | 0.6083 | 0.6057 | 0.5942 | 0.5863 | 0.5908 | 0.5608 | 0.6976 | 0.8506 | 0.9084 | 0.9795 | 0.9991 | 0.9823 | 0.961 | 0.959 | 0.9546 | 0.9518 | 0.9459 | 0.9449 | 0.682 | 0.8398 | 0.9123 | 0.9736 | 1.0096 | 0.9831 | 0.9699 | 0.9644 | 0.9676 | 0.9609 | 0.9476 | 0.9446 | 0.1592 | 0.1033 | 0.106 | 0.12 | 0.1232 | 0.1292 | 0.1327 | 0.1343 | 0.1366 | 0.1355 | 0.1364 | 0.1381 | 0.1172 | 0.1045 | 0.1205 | 0.1164 | 0.1237 | 0.1312 | 0.1337 | 0.1351 | 0.1355 | 0.1349 | 0.136 | 0.1381 | 0.4077 | 0.4415 | 0.4867 | 0.4892 | 0.4928 | 0.486 | 0.4795 | 0.4702 | 0.4605 | 0.4558 | 0.4501 | 0.4472 | 0.4028 | 0.451 | 0.4722 | 0.5003 | 0.5057 | 0.491 | 0.4886 | 0.415 | 0.452 | 0.4437 | 0.4339 | 0.4341
23 | 26400.224 | 37 | 0.222 | 0.2868 | 0.4391 | 0.5248 | 0.591 | 0.6087 | 0.6104 | 0.6087 | 0.5954 | 0.5857 | 0.6035 | 0.4694 | 0.2304 | 0.2717 | 0.4334 | 0.5351 | 0.5976 | 0.617 | 0.6115 | 0.6096 | 0.6004 | 0.5934 | 0.5974 | 0.5691 | 0.7177 | 0.8577 | 0.9146 | 0.9738 | 1.0024 | 0.9968 | 0.9773 | 0.9745 | 0.9687 | 0.9663 | 0.9598 | 0.9599 | 0.6995 | 0.8684 | 0.92 | 0.9723 | 1.0139 | 0.9983 | 0.9851 | 0.9802 | 0.9833 | 0.977 | 0.9636 | 0.9616 | 0.1478 | 0.1037 | 0.1072 | 0.1223 | 0.1264 | 0.1331 | 0.1364 | 0.1389 | 0.1414 | 0.1404 | 0.1416 | 0.1434 | 0.1143 | 0.1109 | 0.1099 | 0.1186 | 0.1268 | 0.1351 | 0.1383 | 0.1401 | 0.1405 | 0.1398 | 0.1408 | 0.1432 | 0.441 | 0.4809 | 0.5216 | 0.524 | 0.5255 | 0.5176 | 0.51 | 0.5006 | 0.4912 | 0.4862 | 0.481 | 0.4774 | 0.4522 | 0.4851 | 0.5049 | 0.5337 | 0.5382 | 0.5207 | 0.5185 | 0.4394 | 0.4811 | 0.4727 | 0.4623 | 0.4644
24 | 27600.24 | 37 | 0.224 | 0.2942 | 0.4493 | 0.5279 | 0.5923 | 0.6073 | 0.6133 | 0.609 | 0.5999 | 0.5898 | 0.6071 | 0.4815 | 0.2335 | 0.2776 | 0.4486 | 0.5405 | 0.6016 | 0.6189 | 0.6126 | 0.6125 | 0.6051 | 0.5985 | 0.6022 | 0.576 | 0.7589 | 0.8541 | 0.9149 | 0.9751 | 1.01 | 1.0083 | 0.9928 | 0.9896 | 0.9861 | 0.9815 | 0.9759 | 0.9755 | 0.7411 | 0.8662 | 0.9202 | 0.9722 | 1.0116 | 1.0129 | 1.001 | 0.9969 | 1.0009 | 0.9921 | 0.9783 | 0.9767 | 0.1646 | 0.1045 | 0.1079 | 0.1241 | 0.1292 | 0.1374 | 0.1411 | 0.1439 | 0.1465 | 0.1457 | 0.1471 | 0.1494 | 0.1148 | 0.1047 | 0.1093 | 0.1206 | 0.1303 | 0.1397 | 0.1431 | 0.1454 | 0.1459 | 0.1451 | 0.1465 | 0.1492 | 0.467 | 0.5121 | 0.5515 | 0.5544 | 0.5554 | 0.5467 | 0.538 | 0.5283 | 0.5194 | 0.5142 | 0.5086 | 0.5048 | 0.468 | 0.508 | 0.5328 | 0.5627 | 0.5661 | 0.5474 | 0.5467 | 0.4616 | 0.5076 | 0.4999 | 0.4903 | 0.4926
25 | 28800.252 | 37 | 0.2271 | 0.3033 | 0.4622 | 0.5344 | 0.5925 | 0.6077 | 0.615 | 0.6085 | 0.6025 | 0.5934 | 0.6079 | 0.4943 | 0.2349 | 0.2832 | 0.4639 | 0.5445 | 0.5998 | 0.6169 | 0.612 | 0.6135 | 0.6083 | 0.6022 | 0.6061 | 0.5813 | 0.7834 | 0.8524 | 0.9138 | 0.9788 | 1.0057 | 1.015 | 1.0059 | 1.0012 | 1.0037 | 0.9997 | 0.9931 | 0.9918 | 0.7671 | 0.864 | 0.9201 | 0.9765 | 1.013 | 1.0154 | 1.0142 | 1.0092 | 1.0156 | 1.0088 | 0.9947 | 0.9928 | 0.1514 | 0.1047 | 0.1087 | 0.1259 | 0.1321 | 0.1413 | 0.1458 | 0.1492 | 0.1519 | 0.1512 | 0.1528 | 0.1554 | 0.1216 | 0.1052 | 0.11 | 0.1222 | 0.1333 | 0.1438 | 0.1485 | 0.1508 | 0.1512 | 0.1509 | 0.1522 | 0.1553 | 0.4935 | 0.5399 | 0.5801 | 0.5839 | 0.5822 | 0.5728 | 0.5643 | 0.5549 | 0.5445 | 0.5401 | 0.5347 | 0.5306 | 0.4957 | 0.5344 | 0.5585 | 0.5906 | 0.5938 | 0.5728 | 0.5723 | 0.4824 | 0.5326 | 0.5255 | 0.5149 | 0.5179
26 | 30000.268 | 37 | 0.2289 | 0.3126 | 0.4748 | 0.5368 | 0.5915 | 0.605 | 0.6139 | 0.6066 | 0.6046 | 0.5949 | 0.6087 | 0.4991 | 0.2376 | 0.2903 | 0.4805 | 0.5516 | 0.6032 | 0.6183 | 0.6133 | 0.6124 | 0.6105 | 0.6045 | 0.6073 | 0.5841 | 0.8131 | 0.8537 | 0.9144 | 0.9848 | 0.9989 | 1.0138 | 1.0067 | 1.0111 | 1.016 | 1.0139 | 1.0114 | 1.0121 | 0.7917 | 0.8644 | 0.9191 | 0.9817 | 1.0054 | 1.0202 | 1.0124 | 1.0166 | 1.0275 | 1.0211 | 1.0099 | 1.0119 | 0.1297 | 0.1053 | 0.1099 | 0.1281 | 0.1357 | 0.146 | 0.1509 | 0.1548 | 0.1577 | 0.1574 | 0.1597 | 0.1622 | 0.1163 | 0.1094 | 0.1111 | 0.1244 | 0.1368 | 0.1484 | 0.1541 | 0.1566 | 0.1575 | 0.157 | 0.1587 | 0.162 | 0.5171 | 0.5585 | 0.6053 | 0.6106 | 0.608 | 0.5969 | 0.5881 | 0.5784 | 0.5685 | 0.5638 | 0.5585 | 0.5544 | 0.5206 | 0.5603 | 0.5838 | 0.6164 | 0.6192 | 0.5959 | 0.5961 | 0.5027 | 0.5562 | 0.5484 | 0.5381 | 0.5404
27 | 31200.285 | 37 | 0.2312 | 0.3236 | 0.489 | 0.5424 | 0.5901 | 0.6044 | 0.6134 | 0.6045 | 0.6058 | 0.5971 | 0.6065 | 0.506 | 0.2402 | 0.298 | 0.4966 | 0.5561 | 0.6015 | 0.6162 | 0.6104 | 0.6119 | 0.6115 | 0.6057 | 0.6084 | 0.5871 | 0.8537 | 0.8527 | 0.9159 | 0.9892 | 0.9992 | 1.0157 | 1.0067 | 1.0089 | 1.0115 | 1.0141 | 1.0186 | 1.0239 | 0.8353 | 0.8624 | 0.9195 | 0.9848 | 1.003 | 1.0358 | 1.0125 | 1.0165 | 1.0259 | 1.0231 | 1.0151 | 1.0212 | 0.1224 | 0.106 | 0.1107 | 0.13 | 0.1389 | 0.1506 | 0.1555 | 0.1605 | 0.1637 | 0.1639 | 0.1662 | 0.1691 | 0.1282 | 0.1061 | 0.1121 | 0.1271 | 0.1407 | 0.1538 | 0.1602 | 0.1634 | 0.1637 | 0.1634 | 0.1647 | 0.1687 | 0.5402 | 0.5893 | 0.6312 | 0.6361 | 0.6319 | 0.6198 | 0.6106 | 0.5999 | 0.5908 | 0.5866 | 0.582 | 0.5764 | 0.5433 | 0.5859 | 0.6079 | 0.6416 | 0.642 | 0.6183 | 0.6183 | 0.5211 | 0.578 | 0.5716 | 0.5607 | 0.5617
28 | 32400.302 | 37 | 0.2339 | 0.3349 | 0.503 | 0.5479 | 0.5877 | 0.6037 | 0.6105 | 0.6025 | 0.6076 | 0.5975 | 0.6058 | 0.5101 | 0.2412 | 0.3045 | 0.5112 | 0.5611 | 0.6003 | 0.6142 | 0.6081 | 0.6083 | 0.612 | 0.6072 | 0.6093 | 0.588 | 0.8639 | 0.8484 | 0.9151 | 0.9908 | 0.997 | 1.0144 | 1.0074 | 1.0113 | 1.0128 | 1.0141 | 1.0199 | 1.0247 | 0.852 | 0.8618 | 0.9209 | 0.9872 | 1.0005 | 1.0308 | 1.0155 | 1.0182 | 1.027 | 1.0254 | 1.0153 | 1.0211 | 0.1446 | 0.1062 | 0.1119 | 0.1325 | 0.1429 | 0.156 | 0.1616 | 0.1672 | 0.1704 | 0.1702 | 0.1729 | 0.1758 | 0.1169 | 0.107 | 0.1132 | 0.1287 | 0.1444 | 0.159 | 0.1662 | 0.1697 | 0.1702 | 0.1701 | 0.1714 | 0.1758 | 0.5617 | 0.6084 | 0.6549 | 0.6588 | 0.6532 | 0.64 | 0.6307 | 0.6215 | 0.6113 | 0.6075 | 0.6026 | 0.5975 | 0.5705 | 0.6104 | 0.6307 | 0.6643 | 0.6634 | 0.6387 | 0.6398 | 0.5383 | 0.5976 | 0.5919 | 0.5811 | 0.5813
29 | 33600.31 | 37 | 0.236 | 0.346 | 0.5164 | 0.5542 | 0.5873 | 0.5999 | 0.6082 | 0.5991 | 0.6065 | 0.5969 | 0.6035 | 0.5127 | 0.2438 | 0.3134 | 0.527 | 0.5672 | 0.6004 | 0.6139 | 0.6061 | 0.606 | 0.6113 | 0.6083 | 0.6096 | 0.5896 | 0.8771 | 0.8452 | 0.9161 | 0.9918 | 0.9998 | 1.0149 | 1.0097 | 1.0126 | 1.0148 | 1.015 | 1.0197 | 1.0245 | 0.8668 | 0.8569 | 0.9209 | 0.9886 | 1.0017 | 1.0258 | 1.022 | 1.021 | 1.0289 | 1.0269 | 1.0176 | 1.0209 | 0.1404 | 0.1066 | 0.1128 | 0.1344 | 0.1466 | 0.1614 | 0.1677 | 0.1738 | 0.1771 | 0.1769 | 0.1803 | 0.1837 | 0.1168 | 0.1166 | 0.114 | 0.1309 | 0.148 | 0.1644 | 0.1727 | 0.1764 | 0.1772 | 0.1775 | 0.1788 | 0.1837 | 0.5837 | 0.6379 | 0.6669 | 0.6797 | 0.6723 | 0.6584 | 0.6491 | 0.6394 | 0.6298 | 0.6257 | 0.6215 | 0.6152 | 0.5939 | 0.6334 | 0.6519 | 0.6859 | 0.684 | 0.6586 | 0.6599 | 0.5549 | 0.6172 | 0.6098 | 0.5997 | 0.599
30 | 34800.324 | 37 | 0.2385 | 0.3589 | 0.5307 | 0.5629 | 0.5882 | 0.5993 | 0.6061 | 0.5964 | 0.6066 | 0.5954 | 0.6 | 0.5157 | 0.2456 | 0.3224 | 0.5435 | 0.5753 | 0.6016 | 0.6128 | 0.6032 | 0.6037 | 0.6088 | 0.6063 | 0.6068 | 0.5895 | 0.8621 | 0.8429 | 0.9179 | 0.995 | 0.9996 | 1.0193 | 1.0159 | 1.0166 | 1.0176 | 1.0199 | 1.0218 | 1.0259 | 0.856 | 0.8527 | 0.9207 | 0.9893 | 1.0059 | 1.0324 | 1.0361 | 1.0281 | 1.0382 | 1.0333 | 1.0232 | 1.0281 | 0.1449 | 0.1072 | 0.1137 | 0.1369 | 0.1509 | 0.1674 | 0.1736 | 0.1812 | 0.1852 | 0.1852 | 0.1887 | 0.193 | 0.1421 | 0.1184 | 0.1151 | 0.1334 | 0.1529 | 0.1709 | 0.1807 | 0.1847 | 0.1854 | 0.1854 | 0.1872 | 0.1927 | 0.6056 | 0.6573 | 0.6869 | 0.6996 | 0.6908 | 0.6763 | 0.6671 | 0.6575 | 0.6477 | 0.6437 | 0.6387 | 0.6327 | 0.6186 | 0.6668 | 0.6714 | 0.7051 | 0.7024 | 0.6758 | 0.6779 | 0.5702 | 0.6338 | 0.6267 | 0.6169 | 0.6153
31 | 36000.331 | 37 | 0.2408 | 0.3766 | 0.545 | 0.5682 | 0.5864 | 0.5975 | 0.6031 | 0.5931 | 0.6042 | 0.5934 | 0.5972 | 0.5172 | 0.2484 | 0.3325 | 0.5568 | 0.5826 | 0.598 | 0.6113 | 0.6014 | 0.6007 | 0.6069 | 0.6048 | 0.6045 | 0.5899 | 0.8482 | 0.8412 | 0.9192 | 0.9972 | 1.0005 | 1.0222 | 1.0215 | 1.0244 | 1.0246 | 1.0262 | 1.0271 | 1.0313 | 0.8434 | 0.8513 | 0.9225 | 0.9923 | 1.0086 | 1.014 | 1.0346 | 1.0362 | 1.0446 | 1.039 | 1.0323 | 1.0308 | 0.1419 | 0.1079 | 0.115 | 0.1396 | 0.1559 | 0.1746 | 0.1815 | 0.1902 | 0.1942 | 0.1942 | 0.1983 | 0.2027 | 0.1159 | 0.1222 | 0.1162 | 0.1359 | 0.1573 | 0.1773 | 0.1883 | 0.1933 | 0.194 | 0.1939 | 0.1961 | 0.2025 | 0.624 | 0.6747 | 0.7078 | 0.7167 | 0.7055 | 0.6914 | 0.683 | 0.674 | 0.6639 | 0.6606 | 0.6561 | 0.649 | 0.6365 | 0.6872 | 0.6898 | 0.7224 | 0.7185 | 0.692 | 0.6941 | 0.5838 | 0.6502 | 0.6424 | 0.632 | 0.63
32 | 37200.334 | 37 | 0.2428 | 0.3865 | 0.5579 | 0.5771 | 0.5845 | 0.5978 | 0.6017 | 0.5922 | 0.6023 | 0.5926 | 0.5961 | 0.5186 | 0.2511 | 0.3425 | 0.5679 | 0.5929 | 0.5994 | 0.6122 | 0.6007 | 0.6 | 0.606 | 0.6042 | 0.6025 | 0.5898 | 0.8362 | 0.8404 | 0.9196 | 0.9982 | 0.9995 | 1.0252 | 1.0264 | 1.0278 | 1.0292 | 1.0316 | 1.0324 | 1.0337 | 0.8308 | 0.8492 | 0.9218 | 0.9934 | 1.0086 | 1.0075 | 1.0417 | 1.0457 | 1.0485 | 1.0416 | 1.0306 | 1.0296 | 0.1428 | 0.1085 | 0.1161 | 0.1417 | 0.1604 | 0.1815 | 0.1892 | 0.1987 | 0.2029 | 0.2034 | 0.2083 | 0.2133 | 0.1424 | 0.1194 | 0.1174 | 0.1394 | 0.1623 | 0.1848 | 0.197 | 0.2028 | 0.2034 | 0.2037 | 0.2062 | 0.2133 | 0.6419 | 0.6942 | 0.7234 | 0.7329 | 0.7207 | 0.706 | 0.6974 | 0.6888 | 0.6794 | 0.6758 | 0.6713 | 0.6642 | 0.6697 | 0.7055 | 0.7074 | 0.7388 | 0.7338 | 0.7062 | 0.7089 | 0.5974 | 0.6658 | 0.6583 | 0.6477 | 0.6442
33 | 38400.347 | 36.9 | 0.245 | 0.3965 | 0.5693 | 0.5864 | 0.584 | 0.5962 | 0.5997 | 0.59 | 0.6004 | 0.5905 | 0.5927 | 0.5183 | 0.2514 | 0.3533 | 0.5771 | 0.6028 | 0.5999 | 0.61 | 0.5983 | 0.5975 | 0.6032 | 0.6024 | 0.6013 | 0.5897 | 0.8269 | 0.8378 | 0.9163 | 0.9981 | 1.0014 | 1.0069 | 1.0307 | 1.0314 | 1.0299 | 1.0308 | 1.0343 | 1.0334 | 0.8211 | 0.8472 | 0.9209 | 0.9951 | 1.0111 | 1.0062 | 1.0287 | 1.0315 | 1.041 | 1.0426 | 1.0333 | 1.0272 | 0.1282 | 0.1086 | 0.117 | 0.1441 | 0.1651 | 0.1886 | 0.1967 | 0.2088 | 0.2129 | 0.2141 | 0.2194 | 0.2244 | 0.1214 | 0.1203 | 0.1186 | 0.141 | 0.1672 | 0.1918 | 0.2059 | 0.2126 | 0.2134 | 0.2138 | 0.2165 | 0.2246 | 0.6581 | 0.7173 | 0.7381 | 0.745 | 0.7323 | 0.7185 | 0.7107 | 0.702 | 0.6925 | 0.6905 | 0.6858 | 0.6773 | 0.6884 | 0.72 | 0.7214 | 0.752 | 0.7461 | 0.719 | 0.7221 | 0.6076 | 0.6789 | 0.6721 | 0.6619 | 0.6569
34 | 39600.361 | 37 | 0.2478 | 0.4072 | 0.5808 | 0.5915 | 0.5849 | 0.5964 | 0.5974 | 0.5887 | 0.5995 | 0.5892 | 0.5904 | 0.5198 | 0.254 | 0.3619 | 0.5921 | 0.6143 | 0.6004 | 0.6105 | 0.5972 | 0.5964 | 0.6015 | 0.602 | 0.5994 | 0.588 | 0.8207 | 0.8384 | 0.9156 | 1.0007 | 1.0061 | 1.0019 | 1.014 | 1.023 | 1.026 | 1.0301 | 1.0354 | 1.0317 | 0.8131 | 0.8476 | 0.9185 | 0.997 | 1.015 | 1.0089 | 1.0137 | 1.0238 | 1.035 | 1.0341 | 1.0277 | 1.0234 | 0.1549 | 0.1095 | 0.1182 | 0.1472 | 0.1713 | 0.1974 | 0.2061 | 0.2203 | 0.2245 | 0.2258 | 0.2327 | 0.2379 | 0.1286 | 0.1183 | 0.1195 | 0.1438 | 0.173 | 0.2003 | 0.2166 | 0.224 | 0.2253 | 0.2259 | 0.2289 | 0.2376 | 0.6733 | 0.7344 | 0.7545 | 0.756 | 0.7432 | 0.7294 | 0.7222 | 0.7154 | 0.706 | 0.7038 | 0.7 | 0.6917 | 0.6985 | 0.7359 | 0.7353 | 0.7638 | 0.7584 | 0.73 | 0.734 | 0.6189 | 0.6918 | 0.685 | 0.675 | 0.6701
35 | 40800.369 | 37 | 0.25 | 0.4159 | 0.5893 | 0.5991 | 0.5833 | 0.5946 | 0.5963 | 0.5876 | 0.5979 | 0.5873 | 0.5888 | 0.5196 | 0.257 | 0.3702 | 0.5925 | 0.6203 | 0.5994 | 0.6102 | 0.5964 | 0.5969 | 0.6011 | 0.6003 | 0.5969 | 0.5875 | 0.8176 | 0.8401 | 0.9138 | 1.0012 | 1.0059 | 0.9976 | 1.0104 | 1.019 | 1.0214 | 1.0261 | 1.032 | 1.0286 | 0.8112 | 0.8496 | 0.9165 | 0.9966 | 1.0159 | 1.0112 | 1.0083 | 1.0172 | 1.027 | 1.0294 | 1.0212 | 1.0175 | 0.1392 | 0.1101 | 0.1195 | 0.15 | 0.1774 | 0.2071 | 0.2163 | 0.2316 | 0.2368 | 0.2382 | 0.2455 | 0.251 | 0.1247 | 0.1197 | 0.1206 | 0.146 | 0.1786 | 0.2097 | 0.2275 | 0.2367 | 0.2372 | 0.238 | 0.2414 | 0.2505 | 0.6878 | 0.7386 | 0.7718 | 0.7648 | 0.7523 | 0.7395 | 0.7328 | 0.7256 | 0.7171 | 0.7156 | 0.7116 | 0.7035 | 0.7118 | 0.7512 | 0.7469 | 0.7738 | 0.7686 | 0.7417 | 0.7466 | 0.6298 | 0.7033 | 0.6967 | 0.6865 | 0.6805
36 | 42000.372 | 36.9 | 0.2534 | 0.4229 | 0.599 | 0.6047 | 0.5844 | 0.5943 | 0.5962 | 0.5867 | 0.5962 | 0.5859 | 0.5891 | 0.5213 | 0.2585 | 0.383 | 0.6038 | 0.6268 | 0.6013 | 0.6099 | 0.5957 | 0.595 | 0.5999 | 0.599 | 0.5959 | 0.5872 | 0.8126 | 0.8413 | 0.9124 | 1.003 | 1.0153 | 0.9981 | 1.0075 | 1.0146 | 1.0187 | 1.0243 | 1.0288 | 1.0255 | 0.807 | 0.8533 | 0.9154 | 0.9982 | 1.0176 | 1.0116 | 1.0069 | 1.0115 | 1.0238 | 1.0228 | 1.0176 | 1.0145 | 0.1364 | 0.1106 | 0.1205 | 0.1529 | 0.1832 | 0.2174 | 0.2275 | 0.2451 | 0.2499 | 0.2515 | 0.2595 | 0.2661 | 0.1526 | 0.1198 | 0.1217 | 0.1493 | 0.1848 | 0.2198 | 0.2405 | 0.2505 | 0.2514 | 0.2523 | 0.2556 | 0.2654 | 0.7007 | 0.753 | 0.7748 | 0.7729 | 0.7605 | 0.7482 | 0.7419 | 0.7356 | 0.7274 | 0.726 | 0.7218 | 0.7132 | 0.7416 | 0.7522 | 0.7573 | 0.7817 | 0.7777 | 0.7506 | 0.7562 | 0.6382 | 0.7135 | 0.7072 | 0.6967 | 0.69
37 | 43200.381 | 37 | 0.2552 | 0.4281 | 0.6056 | 0.6158 | 0.5825 | 0.5948 | 0.5956 | 0.5856 | 0.5956 | 0.5843 | 0.587 | 0.5215 | 0.2601 | 0.3893 | 0.6069 | 0.633 | 0.6002 | 0.6082 | 0.5953 | 0.5946 | 0.5991 | 0.5987 | 0.5954 | 0.5873 | 0.8128 | 0.8422 | 0.9103 | 1.0029 | 1.0296 | 1.0016 | 0.9979 | 1.0218 | 1.0127 | 1.0213 | 1.027 | 1.0209 | 0.8046 | 0.8551 | 0.9127 | 0.9978 | 1.0185 | 1.0135 | 1.0056 | 1.012 | 1.0228 | 1.0215 | 1.014 | 1.0119 | 0.1372 | 0.1114 | 0.122 | 0.1567 | 0.1909 | 0.2291 | 0.2392 | 0.2596 | 0.265 | 0.2673 | 0.2753 | 0.28 | 0.1343 | 0.1196 | 0.1234 | 0.153 | 0.1925 | 0.2313 | 0.2544 | 0.2653 | 0.2666 | 0.2676 | 0.2709 | 0.2781 | 0.7131 | 0.7619 | 0.7834 | 0.7798 | 0.7678 | 0.7561 | 0.7507 | 0.7433 | 0.736 | 0.735 | 0.7315 | 0.7231 | 0.7302 | 0.7666 | 0.7651 | 0.7898 | 0.7857 | 0.7593 | 0.7663 | 0.6467 | 0.7237 | 0.7172 | 0.7069 | 0.6981
38 | 44400.398 | 37 | 0.2588 | 0.4318 | 0.6111 | 0.6145 | 0.5822 | 0.5946 | 0.5955 | 0.5858 | 0.5944 | 0.5838 | 0.5863 | 0.5201 | 0.2629 | 0.3953 | 0.6132 | 0.6407 | 0.6008 | 0.6109 | 0.5972 | 0.5964 | 0.6001 | 0.5988 | 0.5951 | 0.5869 | 0.8138 | 0.848 | 0.9101 | 1.0029 | 1.0248 | 1.002 | 0.9974 | 1.0057 | 1.0126 | 1.0155 | 1.0228 | 1.0198 | 0.8049 | 0.8577 | 0.912 | 0.9968 | 1.0187 | 1.0187 | 1.0064 | 1.0115 | 1.0243 | 1.0198 | 1.0136 | 1.0136 | 0.1369 | 0.1121 | 0.1231 | 0.1599 | 0.1987 | 0.2406 | 0.251 | 0.2718 | 0.2761 | 0.2779 | 0.2859 | 0.2914 | 0.1328 | 0.1211 | 0.1242 | 0.156 | 0.1997 | 0.2427 | 0.2683 | 0.2778 | 0.2787 | 0.28 | 0.2824 | 0.29 | 0.7239 | 0.7887 | 0.7917 | 0.7844 | 0.774 | 0.7619 | 0.7573 | 0.7505 | 0.7435 | 0.7427 | 0.7393 | 0.7312 | 0.7567 | 0.7698 | 0.7728 | 0.7959 | 0.7925 | 0.7667 | 0.7728 | 0.6532 | 0.7318 | 0.7255 | 0.7148 | 0.706
39 | 45600.409 | 36.9 | 0.2619 | 0.4345 | 0.616 | 0.6191 | 0.5799 | 0.5948 | 0.5944 | 0.5854 | 0.5939 | 0.5833 | 0.586 | 0.5202 | 0.2644 | 0.3992 | 0.6201 | 0.6471 | 0.6027 | 0.6099 | 0.5977 | 0.5952 | 0.5998 | 0.5986 | 0.5948 | 0.5856 | 0.8145 | 0.8496 | 0.9078 | 1.0019 | 1.0154 | 1.0023 | 0.9939 | 1.0007 | 1.0061 | 1.01 | 1.0165 | 1.0146 | 0.8055 | 0.8617 | 0.9116 | 0.998 | 1.0218 | 1.0145 | 1.0109 | 1.0163 | 1.0248 | 1.0245 | 1.0163 | 1.0156 | 0.1233 | 0.1126 | 0.1244 | 0.1645 | 0.2075 | 0.2546 | 0.2646 | 0.2829 | 0.2886 | 0.2921 | 0.3027 | 0.3066 | 0.1577 | 0.1189 | 0.1258 | 0.1602 | 0.2093 | 0.2564 | 0.2783 | 0.2888 | 0.2911 | 0.2931 | 0.2961 | 0.3049 | 0.7435 | 0.7929 | 0.7971 | 0.7886 | 0.7794 | 0.7677 | 0.7632 | 0.7568 | 0.7505 | 0.7494 | 0.7465 | 0.7373 | 0.7715 | 0.7793 | 0.7797 | 0.8001 | 0.7987 | 0.7729 | 0.78 | 0.6597 | 0.7394 | 0.7325 | 0.7217 | 0.7125
40 | 46800.421 | 37 | 0.2654 | 0.4368 | 0.6221 | 0.6296 | 0.5812 | 0.5953 | 0.5953 | 0.5865 | 0.5949 | 0.5833 | 0.5861 | 0.5205 | 0.2662 | 0.4031 | 0.6266 | 0.6499 | 0.6023 | 0.6096 | 0.5965 | 0.5958 | 0.5999 | 0.5986 | 0.5958 | 0.5864 | 0.8177 | 0.8532 | 0.9065 | 1.0008 | 1.0137 | 1.0046 | 0.9971 | 0.9995 | 1.0035 | 1.0088 | 1.0162 | 1.0145 | 0.8091 | 0.8658 | 0.9098 | 0.9969 | 1.0221 | 1.0241 | 1.0124 | 1.0196 | 1.0281 | 1.0252 | 1.0176 | 1.016 | 0.1438 | 0.1135 | 0.1257 | 0.1679 | 0.2171 | 0.266 | 0.2734 | 0.2976 | 0.3036 | 0.3069 | 0.3149 | 0.3216 | 0.1326 | 0.1196 | 0.1269 | 0.164 | 0.2186 | 0.269 | 0.2913 | 0.3033 | 0.3058 | 0.3077 | 0.3113 | 0.321 | 0.7414 | 0.7941 | 0.8043 | 0.7932 | 0.7827 | 0.7722 | 0.7688 | 0.7627 | 0.7558 | 0.7542 | 0.7511 | 0.7424 | 0.7741 | 0.7898 | 0.7865 | 0.8043 | 0.8034 | 0.7774 | 0.7856 | 0.6649 | 0.7448 | 0.7381 | 0.728 | 0.7174
41 | 48000.431 | 37 | 0.2678 | 0.4387 | 0.6289 | 0.6309 | 0.5792 | 0.5961 | 0.596 | 0.5863 | 0.5946 | 0.5833 | 0.5857 | 0.5187 | 0.2687 | 0.4056 | 0.634 | 0.6585 | 0.604 | 0.6103 | 0.5987 | 0.5969 | 0.6003 | 0.5996 | 0.5956 | 0.5855 | 0.8224 | 0.8551 | 0.9049 | 1.0002 | 1.0145 | 1.0067 | 1.0097 | 0.9982 | 1.0031 | 1.0075 | 1.0166 | 1.013 | 0.8125 | 0.8673 | 0.9101 | 0.9958 | 1.0229 | 1.0208 | 1.0139 | 1.0164 | 1.0273 | 1.027 | 1.0212 | 1.0475 | 0.1402 | 0.114 | 0.1269 | 0.1719 | 0.2271 | 0.2764 | 0.2855 | 0.3119 | 0.3171 | 0.3215 | 0.3307 | 0.3364 | 0.1399 | 0.1188 | 0.1285 | 0.1685 | 0.2284 | 0.2785 | 0.3063 | 0.3171 | 0.32 | 0.3227 | 0.3268 | 0.3358 | 0.7536 | 0.7975 | 0.8109 | 0.7991 | 0.7877 | 0.776 | 0.7717 | 0.7664 | 0.7608 | 0.759 | 0.7564 | 0.7477 | 0.7856 | 0.8011 | 0.7931 | 0.8098 | 0.8072 | 0.7837 | 0.7906 | 0.67 | 0.7503 | 0.7435 | 0.7328 | 0.7216
42 | 49200.443 | 37 | 0.2726 | 0.4414 | 0.6381 | 0.6384 | 0.5821 | 0.5969 | 0.596 | 0.5881 | 0.5942 | 0.5836 | 0.5856 | 0.5193 | 0.2718 | 0.4094 | 0.641 | 0.6632 | 0.6082 | 0.6114 | 0.6001 | 0.5988 | 0.6012 | 0.5998 | 0.5959 | 0.586 | 0.8374 | 0.8579 | 0.9062 | 0.9999 | 1.0175 | 1.0089 | 1.0004 | 1.0057 | 1.0049 | 1.0102 | 1.0182 | 1.0161 | 0.8263 | 0.8694 | 0.9081 | 0.9938 | 1.0222 | 1.0205 | 1.0204 | 1.0265 | 1.0279 | 1.0295 | 1.0207 | 1.0194 | 0.1405 | 0.1148 | 0.1286 | 0.177 | 0.2382 | 0.2898 | 0.2979 | 0.3275 | 0.3335 | 0.3395 | 0.3474 | 0.3529 | 0.1253 | 0.1185 | 0.13 | 0.1726 | 0.2391 | 0.2918 | 0.3228 | 0.3341 | 0.3364 | 0.3391 | 0.3432 | 0.3528 | 0.7594 | 0.8063 | 0.8162 | 0.8025 | 0.7928 | 0.7793 | 0.7749 | 0.7698 | 0.7636 | 0.7635 | 0.7606 | 0.7514 | 0.7895 | 0.8055 | 0.7965 | 0.8135 | 0.8094 | 0.7861 | 0.7952 | 0.6736 | 0.7551 | 0.7487 | 0.7379 | 0.7259
43 | 50400.456 | 37 | 0.2778 | 0.4445 | 0.6441 | 0.6402 | 0.5831 | 0.5969 | 0.5978 | 0.589 | 0.5957 | 0.5841 | 0.5866 | 0.5211 | 0.2741 | 0.4117 | 0.6477 | 0.6685 | 0.6112 | 0.6134 | 0.6016 | 0.6003 | 0.6032 | 0.5998 | 0.5969 | 0.5869 | 0.8488 | 0.8572 | 0.9049 | 0.9972 | 1.0161 | 1.0071 | 1.0148 | 1.0007 | 1.0056 | 1.0112 | 1.0203 | 1.0172 | 0.8411 | 0.869 | 0.905 | 0.9902 | 1.0203 | 1.0199 | 1.0151 | 1.0191 | 1.0305 | 1.0299 | 1.0199 | 1.02 | 0.1443 | 0.1156 | 0.1296 | 0.1816 | 0.2501 | 0.3047 | 0.3116 | 0.343 | 0.3499 | 0.3546 | 0.3637 | 0.3684 | 0.134 | 0.1193 | 0.1312 | 0.1776 | 0.2509 | 0.306 | 0.3382 | 0.3499 | 0.3529 | 0.3553 | 0.3589 | 0.3677 | 0.7723 | 0.8197 | 0.8199 | 0.8066 | 0.7984 | 0.7862 | 0.7804 | 0.7724 | 0.7662 | 0.7663 | 0.7629 | 0.7546 | 0.7808 | 0.814 | 0.8007 | 0.8176 | 0.8157 | 0.7889 | 0.7983 | 0.6766 | 0.7589 | 0.7523 | 0.7415 | 0.7289
44 | 51600.466 | 37 | 0.2828 | 0.4466 | 0.6483 | 0.6461 | 0.5872 | 0.5968 | 0.5966 | 0.5897 | 0.5962 | 0.5843 | 0.586 | 0.5196 | 0.2761 | 0.4152 | 0.6541 | 0.6766 | 0.6123 | 0.6132 | 0.6032 | 0.6015 | 0.6044 | 0.6006 | 0.5978 | 0.5869 | 0.8394 | 0.8611 | 0.9039 | 0.9946 | 1.0176 | 1.0188 | 1.0034 | 1.0179 | 1.0065 | 1.0131 | 1.0235 | 1.0187 | 0.83 | 0.8709 | 0.9054 | 0.9887 | 1.019 | 1.0184 | 1.0154 | 1.0187 | 1.0435 | 1.0302 | 1.0205 | 1.02 | 0.1405 | 0.1161 | 0.131 | 0.1872 | 0.2593 | 0.3209 | 0.3261 | 0.3594 | 0.365 | 0.3705 | 0.381 | 0.3845 | 0.1674 | 0.118 | 0.1327 | 0.1827 | 0.26 | 0.3222 | 0.354 | 0.3653 | 0.369 | 0.3723 | 0.3773 | 0.3856 | 0.7887 | 0.8223 | 0.8243 | 0.8103 | 0.8021 | 0.7899 | 0.7857 | 0.7779 | 0.7709 | 0.7695 | 0.7658 | 0.7575 | 0.7979 | 0.8222 | 0.8043 | 0.8208 | 0.8198 | 0.7939 | 0.8007 | 0.679 | 0.7624 | 0.756 | 0.7448 | 0.7314
45 | 52800.483 | 37 | 0.2875 | 0.4495 | 0.6622 | 0.6518 | 0.5847 | 0.5977 | 0.5991 | 0.5913 | 0.5963 | 0.584 | 0.5866 | 0.5211 | 0.2784 | 0.4175 | 0.6634 | 0.6817 | 0.6177 | 0.6137 | 0.6047 | 0.603 | 0.6055 | 0.6013 | 0.5973 | 0.5859 | 0.8281 | 0.8606 | 0.9048 | 0.9936 | 1.0177 | 1.0285 | 1.0011 | 1.0222 | 1.0082 | 1.0137 | 1.0258 | 1.0191 | 0.8187 | 0.8709 | 0.9053 | 0.9868 | 1.0177 | 1.0233 | 1.0184 | 1.028 | 1.0312 | 1.0324 | 1.0232 | 1.0205 | 0.1255 | 0.1168 | 0.1327 | 0.193 | 0.2697 | 0.3363 | 0.339 | 0.3758 | 0.3808 | 0.3871 | 0.3976 | 0.4003 | 0.1306 | 0.1176 | 0.1342 | 0.1886 | 0.27 | 0.3361 | 0.3696 | 0.3807 | 0.3851 | 0.3878 | 0.3933 | 0.4023 | 0.7846 | 0.8287 | 0.8275 | 0.8144 | 0.8058 | 0.7938 | 0.7887 | 0.7821 | 0.7755 | 0.7741 | 0.77 | 0.7589 | 0.7902 | 0.8283 | 0.8082 | 0.8244 | 0.8239 | 0.7988 | 0.8059 | 0.6838 | 0.7643 | 0.7579 | 0.7477 | 0.7339
46 | 54000.493 | 37 | 0.2924 | 0.4516 | 0.6665 | 0.6572 | 0.5873 | 0.5971 | 0.6009 | 0.5929 | 0.5979 | 0.5854 | 0.5866 | 0.5213 | 0.2799 | 0.4199 | 0.6691 | 0.6858 | 0.6174 | 0.6128 | 0.6056 | 0.6056 | 0.607 | 0.6035 | 0.5996 | 0.5873 | 0.8225 | 0.8603 | 0.9033 | 0.9884 | 1.0163 | 1.0151 | 1.0176 | 1.0067 | 1.01 | 1.0147 | 1.024 | 1.0207 | 0.8135 | 0.8729 | 0.9071 | 0.9845 | 1.0156 | 1.0281 | 1.0184 | 1.023 | 1.0362 | 1.0342 | 1.023 | 1.0211 | 0.127 | 0.1173 | 0.1342 | 0.1992 | 0.2821 | 0.3542 | 0.354 | 0.3938 | 0.3986 | 0.405 | 0.4155 | 0.4169 | 0.1249 | 0.1189 | 0.1358 | 0.1949 | 0.2816 | 0.3524 | 0.3865 | 0.397 | 0.4019 | 0.4044 | 0.4114 | 0.4186 | 0.793 | 0.8346 | 0.8296 | 0.8159 | 0.8083 | 0.7961 | 0.7912 | 0.7843 | 0.7782 | 0.7769 | 0.7733 | 0.7615 | 0.7952 | 0.834 | 0.8113 | 0.8272 | 0.827 | 0.8017 | 0.8098 | 0.687 | 0.7682 | 0.7604 | 0.7495 | 0.7353
47 | 55200.5 | 37 | 0.2985 | 0.4554 | 0.6715 | 0.6601 | 0.5893 | 0.5981 | 0.6021 | 0.5943 | 0.5983 | 0.5856 | 0.588 | 0.5223 | 0.2823 | 0.4222 | 0.6745 | 0.6901 | 0.6245 | 0.6139 | 0.6078 | 0.6077 | 0.6082 | 0.604 | 0.6009 | 0.588 | 0.8169 | 0.863 | 0.905 | 0.9858 | 1.0146 | 1.012 | 1.0066 | 1.0303 | 1.0118 | 1.017 | 1.0241 | 1.0207 | 0.8086 | 0.8734 | 0.9061 | 0.98 | 1.0113 | 1.0266 | 1.0182 | 1.027 | 1.0531 | 1.032 | 1.0234 | 1.0217 | 0.1465 | 0.1182 | 0.1361 | 0.2061 | 0.2959 | 0.3722 | 0.3689 | 0.411 | 0.4156 | 0.4228 | 0.4324 | 0.4334 | 0.1445 | 0.1192 | 0.1379 | 0.2018 | 0.2957 | 0.3703 | 0.4055 | 0.4151 | 0.4192 | 0.4225 | 0.4296 | 0.4361 | 0.798 | 0.841 | 0.8341 | 0.8202 | 0.811 | 0.7987 | 0.7934 | 0.7872 | 0.7805 | 0.7795 | 0.7764 | 0.766 | 0.8017 | 0.8406 | 0.8143 | 0.8309 | 0.8297 | 0.805 | 0.8131 | 0.6905 | 0.7724 | 0.7646 | 0.7529 | 0.7369
48 | 56400.512 | 37 | 0.3029 | 0.4589 | 0.6696 | 0.6629 | 0.5909 | 0.599 | 0.6045 | 0.5953 | 0.598 | 0.586 | 0.589 | 0.5229 | 0.2847 | 0.4249 | 0.68 | 0.699 | 0.6291 | 0.6156 | 0.6114 | 0.611 | 0.6097 | 0.6057 | 0.603 | 0.5864 | 0.8146 | 0.8645 | 0.9062 | 0.9827 | 1.012 | 1.0122 | 1.007 | 1.0086 | 1.0115 | 1.0167 | 1.0244 | 1.0209 | 0.8007 | 0.8761 | 0.9083 | 0.9772 | 1.0083 | 1.0282 | 1.0223 | 1.0227 | 1.0333 | 1.0339 | 1.0273 | 1.0203 | 0.1522 | 0.1189 | 0.1378 | 0.2137 | 0.3108 | 0.3911 | 0.3852 | 0.4298 | 0.4327 | 0.4396 | 0.4512 | 0.4496 | 0.1294 | 0.1212 | 0.1398 | 0.2091 | 0.3096 | 0.3867 | 0.4221 | 0.4314 | 0.4358 | 0.4386 | 0.4464 | 0.4533 | 0.8066 | 0.8469 | 0.8359 | 0.8222 | 0.8132 | 0.8003 | 0.7958 | 0.7889 | 0.7825 | 0.7821 | 0.7783 | 0.7683 | 0.8084 | 0.845 | 0.8161 | 0.833 | 0.8321 | 0.8072 | 0.8158 | 0.6927 | 0.7753 | 0.7677 | 0.7563 | 0.7375
49 | 57600.521 | 37 | 0.3066 | 0.4621 | 0.6796 | 0.6652 | 0.5954 | 0.5986 | 0.6056 | 0.5981 | 0.5993 | 0.5868 | 0.5906 | 0.524 | 0.2872 | 0.4278 | 0.684 | 0.6978 | 0.6358 | 0.6163 | 0.613 | 0.6127 | 0.6119 | 0.6078 | 0.6047 | 0.5868 | 0.8091 | 0.8644 | 0.9088 | 0.9789 | 1.0084 | 1.0119 | 1.0193 | 1.0101 | 1.0138 | 1.0178 | 1.0297 | 1.0224 | 0.8013 | 0.8774 | 0.9098 | 0.9737 | 1.0045 | 1.0289 | 1.0245 | 1.022 | 1.0334 | 1.0345 | 1.0244 | 1.0214 | 0.1362 | 0.1196 | 0.1401 | 0.2222 | 0.3272 | 0.4111 | 0.4003 | 0.4467 | 0.4494 | 0.4563 | 0.467 | 0.4649 | 0.1222 | 0.1213 | 0.142 | 0.2176 | 0.3262 | 0.406 | 0.4401 | 0.4482 | 0.452 | 0.4552 | 0.4624 | 0.4663 | 0.8125 | 0.8512 | 0.8374 | 0.8248 | 0.8164 | 0.803 | 0.7979 | 0.7912 | 0.7851 | 0.7836 | 0.7797 | 0.7695 | 0.8144 | 0.8492 | 0.8194 | 0.8366 | 0.835 | 0.8107 | 0.8185 | 0.6953 | 0.7782 | 0.7707 | 0.7589 | 0.7387
50 | 58800.526 | 37 | 0.3118 | 0.4639 | 0.6848 | 0.669 | 0.5987 | 0.5988 | 0.6078 | 0.5994 | 0.6006 | 0.5883 | 0.5919 | 0.5241 | 0.2898 | 0.4305 | 0.6895 | 0.701 | 0.6343 | 0.6184 | 0.6141 | 0.6157 | 0.6142 | 0.6098 | 0.6075 | 0.5885 | 0.8072 | 0.8636 | 0.9108 | 0.9749 | 1.0036 | 1.0115 | 1.0099 | 1.0111 | 1.0136 | 1.0181 | 1.0259 | 1.0224 | 0.7985 | 0.8811 | 0.9134 | 0.9711 | 1.0002 | 1.024 | 1.0185 | 1.0228 | 1.0367 | 1.0453 | 1.025 | 1.0195 | 0.1497 | 0.1205 | 0.1421 | 0.2316 | 0.3453 | 0.432 | 0.417 | 0.4647 | 0.4663 | 0.4735 | 0.477 | 0.4758 | 0.1266 | 0.1218 | 0.1439 | 0.2261 | 0.3413 | 0.4239 | 0.4581 | 0.4653 | 0.4683 | 0.4715 | 0.472 | 0.4757 | 0.8185 | 0.8555 | 0.8405 | 0.8277 | 0.8182 | 0.8041 | 0.7987 | 0.7924 | 0.7862 | 0.7853 | 0.7813 | 0.7718 | 0.82 | 0.8527 | 0.8206 | 0.8385 | 0.8375 | 0.8122 | 0.8208 | 0.6968 | 0.7804 | 0.7729 | 0.7615 | 0.7418
51 | 60000.544 | 37 | 0.3145 | 0.4665 | 0.6878 | 0.6735 | 0.6014 | 0.5982 | 0.6115 | 0.6009 | 0.6021 | 0.5899 | 0.594 | 0.5242 | 0.2917 | 0.4315 | 0.6936 | 0.7047 | 0.639 | 0.62 | 0.6176 | 0.62 | 0.6187 | 0.6115 | 0.6091 | 0.5898 | 0.8057 | 0.8641 | 0.9116 | 0.9705 | 0.9994 | 1.0102 | 1.0143 | 1.0127 | 1.0131 | 1.0184 | 1.0277 | 1.0209 | 0.7959 | 0.8812 | 0.9134 | 0.966 | 0.9952 | 1.0185 | 1.016 | 1.0258 | 1.0382 | 1.0391 | 1.0223 | 1.0177 | 0.1324 | 0.1211 | 0.1442 | 0.2415 | 0.3645 | 0.4526 | 0.4324 | 0.4818 | 0.483 | 0.4865 | 0.4913 | 0.4877 | 0.1298 | 0.1213 | 0.1462 | 0.2361 | 0.3596 | 0.4427 | 0.4754 | 0.482 | 0.4817 | 0.479 | 0.4908 | 0.4939 | 0.8231 | 0.8585 | 0.8417 | 0.8299 | 0.8206 | 0.8069 | 0.8012 | 0.7944 | 0.7883 | 0.7874 | 0.7841 | 0.7733 | 0.8264 | 0.8566 | 0.8224 | 0.841 | 0.8405 | 0.8144 | 0.8232 | 0.6998 | 0.7837 | 0.7755 | 0.7634 | 0.7436
52 | 61200.56 | 37 | 0.3173 | 0.4674 | 0.6881 | 0.6773 | 0.6041 | 0.5996 | 0.6119 | 0.6041 | 0.6044 | 0.5927 | 0.5961 | 0.5243 | 0.2941 | 0.4359 | 0.7005 | 0.7087 | 0.6421 | 0.6214 | 0.6192 | 0.6246 | 0.6234 | 0.6142 | 0.6118 | 0.591 | 0.8066 | 0.8689 | 0.917 | 0.9688 | 0.9963 | 1.0094 | 1.0168 | 1.0137 | 1.0154 | 1.0186 | 1.0283 | 1.0211 | 0.798 | 0.887 | 0.9189 | 0.966 | 0.9933 | 1.0156 | 1.0166 | 1.0214 | 1.0338 | 1.0336 | 1.0236 | 1.017 | 0.1299 | 0.1221 | 0.1466 | 0.2494 | 0.385 | 0.473 | 0.4486 | 0.5002 | 0.495 | 0.4974 | 0.5114 | 0.5068 | 0.1275 | 0.1223 | 0.1485 | 0.2433 | 0.3777 | 0.461 | 0.4926 | 0.4943 | 0.4911 | 0.4978 | 0.5127 | 0.5133 | 0.8267 | 0.8609 | 0.8425 | 0.8313 | 0.8218 | 0.8078 | 0.8016 | 0.7955 | 0.7891 | 0.789 | 0.785 | 0.7739 | 0.8309 | 0.8593 | 0.8228 | 0.8418 | 0.8415 | 0.8165 | 0.8248 | 0.6999 | 0.7848 | 0.7775 | 0.7654 | 0.7446
53 | 62400.562 | 37 | 0.3212 | 0.4712 | 0.6929 | 0.6801 | 0.6058 | 0.6006 | 0.6145 | 0.6064 | 0.6066 | 0.5948 | 0.6007 | 0.5262 | 0.2964 | 0.4409 | 0.7011 | 0.7117 | 0.6449 | 0.6209 | 0.6214 | 0.6269 | 0.6264 | 0.6154 | 0.6155 | 0.5936 | 0.8064 | 0.87 | 0.9206 | 0.965 | 0.9901 | 1.0062 | 1.0121 | 1.023 | 1.014 | 1.019 | 1.0264 | 1.0204 | 0.7943 | 0.8887 | 0.9219 | 0.9616 | 0.9872 | 1.0127 | 1.0138 | 1.018 | 1.0294 | 1.0313 | 1.0206 | 1.015 | 0.1324 | 0.1227 | 0.1489 | 0.2582 | 0.4065 | 0.4922 | 0.4642 | 0.5082 | 0.5063 | 0.5171 | 0.5319 | 0.527 | 0.1284 | 0.1234 | 0.1514 | 0.2521 | 0.3981 | 0.4801 | 0.5033 | 0.5066 | 0.5116 | 0.5187 | 0.533 | 0.5323 | 0.8279 | 0.8644 | 0.8436 | 0.833 | 0.8235 | 0.8096 | 0.8036 | 0.7972 | 0.7914 | 0.7902 | 0.7868 | 0.7764 | 0.8358 | 0.8645 | 0.8257 | 0.846 | 0.8458 | 0.8191 | 0.8283 | 0.7035 | 0.7872 | 0.7781 | 0.7659 | 0.7457
54 | 63600.57 | 37 | 0.3235 | 0.4724 | 0.6934 | 0.6907 | 0.6072 | 0.6001 | 0.6152 | 0.6071 | 0.6091 | 0.5966 | 0.6025 | 0.5264 | 0.3003 | 0.4448 | 0.7045 | 0.7134 | 0.6511 | 0.6222 | 0.6243 | 0.6318 | 0.6299 | 0.6173 | 0.6181 | 0.5934 | 0.8065 | 0.8722 | 0.925 | 0.9615 | 0.9854 | 1.003 | 1.0178 | 1.0148 | 1.0205 | 1.0183 | 1.0263 | 1.0221 | 0.7961 | 0.8925 | 0.9255 | 0.9583 | 0.9827 | 1.0084 | 1.01 | 1.0168 | 1.0268 | 1.0295 | 1.0192 | 1.0142 | 0.1311 | 0.1235 | 0.1514 | 0.2701 | 0.4292 | 0.5117 | 0.48 | 0.5252 | 0.5261 | 0.5397 | 0.5518 | 0.5454 | 0.1402 | 0.1238 | 0.154 | 0.2628 | 0.4183 | 0.499 | 0.5164 | 0.5268 | 0.5326 | 0.5397 | 0.5533 | 0.55 | 0.8276 | 0.869 | 0.8456 | 0.8356 | 0.8252 | 0.8105 | 0.8044 | 0.7986 | 0.793 | 0.792 | 0.7876 | 0.7772 | 0.8366 | 0.8678 | 0.8271 | 0.8475 | 0.8471 | 0.8214 | 0.8297 | 0.705 | 0.7887 | 0.7809 | 0.7682 | 0.7469
55 | 64800.578 | 37 | 0.3259 | 0.4749 | 0.7075 | 0.688 | 0.6102 | 0.6015 | 0.6183 | 0.6185 | 0.6115 | 0.5995 | 0.6057 | 0.5266 | 0.3022 | 0.447 | 0.705 | 0.7128 | 0.6516 | 0.6221 | 0.6248 | 0.6305 | 0.6309 | 0.6203 | 0.6204 | 0.5933 | 0.8055 | 0.875 | 0.9287 | 0.9588 | 0.9813 | 0.9997 | 1.0136 | 1.0117 | 1.014 | 1.0179 | 1.0268 | 1.0192 | 0.7934 | 0.9004 | 0.9317 | 0.9562 | 0.9782 | 1.0062 | 1.0082 | 1.0136 | 1.0249 | 1.0273 | 1.018 | 1.0105 | 0.1321 | 0.1243 | 0.1542 | 0.2836 | 0.4524 | 0.5224 | 0.4976 | 0.5451 | 0.5469 | 0.5613 | 0.5711 | 0.5622 | 0.1295 | 0.1246 | 0.1566 | 0.2751 | 0.4379 | 0.5156 | 0.537 | 0.5473 | 0.5527 | 0.5587 | 0.571 | 0.5658 | 0.8275 | 0.8663 | 0.8473 | 0.8373 | 0.8273 | 0.8121 | 0.8059 | 0.7999 | 0.7943 | 0.7938 | 0.7896 | 0.7795 | 0.8368 | 0.8703 | 0.829 | 0.85 | 0.8498 | 0.8234 | 0.8316 | 0.7067 | 0.7913 | 0.7828 | 0.7697 | 0.7488
56 | 66000.592 | 37 | 0.328 | 0.477 | 0.6969 | 0.699 | 0.6127 | 0.6013 | 0.6223 | 0.6127 | 0.6123 | 0.6022 | 0.6075 | 0.5267 | 0.3041 | 0.449 | 0.7072 | 0.7161 | 0.6537 | 0.6241 | 0.6275 | 0.6361 | 0.6333 | 0.6239 | 0.6252 | 0.593 | 0.809 | 0.8894 | 0.9332 | 0.9559 | 0.975 | 0.9955 | 1.0274 | 1.0102 | 1.0118 | 1.0167 | 1.0243 | 1.018 | 0.7942 | 0.8967 | 0.9366 | 0.9538 | 0.9742 | 1.0016 | 1.0035 | 1.0105 | 1.0221 | 1.0256 | 1.0244 | 1.0095 | 0.1336 | 0.1255 | 0.1569 | 0.2984 | 0.4756 | 0.5375 | 0.5143 | 0.5663 | 0.5667 | 0.58 | 0.5877 | 0.5778 | 0.1292 | 0.1263 | 0.1601 | 0.2896 | 0.4594 | 0.5233 | 0.5585 | 0.5678 | 0.5713 | 0.5776 | 0.5875 | 0.5808 | 0.8269 | 0.8647 | 0.853 | 0.8452 | 0.8332 | 0.8147 | 0.8085 | 0.8022 | 0.7961 | 0.7957 | 0.7915 | 0.7804 | 0.8356 | 0.8684 | 0.8327 | 0.8512 | 0.8514 | 0.824 | 0.8329 | 0.7073 | 0.793 | 0.7846 | 0.7726 | 0.749
57 | 67200.604 | 36.9 | 0.3298 | 0.4782 | 0.6985 | 0.684 | 0.6125 | 0.6014 | 0.6223 | 0.6148 | 0.6139 | 0.6039 | 0.6115 | 0.5272 | 0.3069 | 0.4513 | 0.7098 | 0.7195 | 0.6556 | 0.6249 | 0.6299 | 0.6387 | 0.6355 | 0.6261 | 0.6277 | 0.5935 | 0.8098 | 0.8729 | 0.9393 | 0.9544 | 0.9713 | 0.9911 | 1.005 | 1.0084 | 1.01 | 1.0141 | 1.0228 | 1.0157 | 0.7945 | 0.8892 | 0.9395 | 0.9512 | 0.9697 | 0.9969 | 1.0001 | 1.0078 | 1.0189 | 1.0236 | 1.0261 | 1.0072 | 0.1341 | 0.1263 | 0.1602 | 0.3156 | 0.4977 | 0.5597 | 0.5224 | 0.5857 | 0.5844 | 0.5972 | 0.6038 | 0.593 | 0.148 | 0.127 | 0.164 | 0.305 | 0.4808 | 0.542 | 0.5799 | 0.5865 | 0.5878 | 0.5924 | 0.6015 | 0.5943 | 0.824 | 0.8596 | 0.8567 | 0.8528 | 0.8405 | 0.8218 | 0.8115 | 0.8023 | 0.7969 | 0.7963 | 0.7925 | 0.7812 | 0.8344 | 0.8654 | 0.8405 | 0.8594 | 0.8574 | 0.827 | 0.835 | 0.7094 | 0.7949 | 0.7861 | 0.7727 | 0.7499
58 | 68400.606 | 37 | 0.3316 | 0.479 | 0.7014 | 0.6849 | 0.6136 | 0.6025 | 0.6254 | 0.6161 | 0.6148 | 0.6045 | 0.6134 | 0.5273 | 0.3085 | 0.4521 | 0.7092 | 0.7202 | 0.6584 | 0.6264 | 0.6316 | 0.6406 | 0.6386 | 0.6267 | 0.6296 | 0.5919 | 0.8084 | 0.8666 | 0.9427 | 0.9521 | 0.9664 | 0.9873 | 1.0014 | 1.0194 | 1.0097 | 1.0141 | 1.0212 | 1.0142 | 0.7985 | 0.8855 | 0.9473 | 0.9514 | 0.9679 | 0.9922 | 0.9974 | 1.0056 | 1.0163 | 1.0202 | 1.0203 | 1.0045 | 0.1359 | 0.1274 | 0.1638 | 0.3355 | 0.5201 | 0.5828 | 0.5403 | 0.6033 | 0.6027 | 0.6136 | 0.618 | 0.6069 | 0.1223 | 0.1272 | 0.166 | 0.3202 | 0.5001 | 0.5642 | 0.5956 | 0.6027 | 0.6031 | 0.6072 | 0.6166 | 0.6064 | 0.8223 | 0.8574 | 0.8585 | 0.858 | 0.8482 | 0.8294 | 0.8199 | 0.8078 | 0.7989 | 0.7982 | 0.7943 | 0.7838 | 0.8327 | 0.8642 | 0.8459 | 0.8697 | 0.866 | 0.8367 | 0.8386 | 0.7121 | 0.797 | 0.7874 | 0.7751 | 0.7517
59 | 69600.62 | 37 | 0.3335 | 0.4815 | 0.6996 | 0.6886 | 0.6169 | 0.6042 | 0.6291 | 0.6198 | 0.6162 | 0.6056 | 0.617 | 0.5256 | 0.3093 | 0.4529 | 0.71 | 0.7221 | 0.6594 | 0.6263 | 0.6314 | 0.6383 | 0.6392 | 0.6289 | 0.6325 | 0.5904 | 0.8089 | 0.8675 | 0.9468 | 0.9516 | 0.9633 | 0.9837 | 1.0019 | 1.0325 | 1.008 | 1.0124 | 1.0191 | 1.0123 | 0.7942 | 0.9027 | 0.9522 | 0.9504 | 0.9633 | 0.9863 | 0.9976 | 1.0042 | 1.015 | 1.0191 | 1.0142 | 1.0027 | 0.1469 | 0.129 | 0.1675 | 0.3572 | 0.5281 | 0.6037 | 0.5594 | 0.6199 | 0.6186 | 0.6281 | 0.6322 | 0.6211 | 0.1234 | 0.1288 | 0.1706 | 0.342 | 0.5189 | 0.5854 | 0.6124 | 0.6175 | 0.6178 | 0.6209 | 0.6286 | 0.6187 | 0.8192 | 0.8553 | 0.856 | 0.8577 | 0.8507 | 0.8355 | 0.8267 | 0.8146 | 0.8052 | 0.7994 | 0.7953 | 0.7845 | 0.8305 | 0.861 | 0.8457 | 0.8749 | 0.8733 | 0.8444 | 0.848 | 0.7196 | 0.7981 | 0.7888 | 0.7753 | 0.7523
60 | 70800.63 | 37 | 0.3355 | 0.4835 | 0.6999 | 0.6925 | 0.6178 | 0.6047 | 0.6288 | 0.6218 | 0.616 | 0.6066 | 0.6194 | 0.5248 | 0.3116 | 0.4544 | 0.7096 | 0.7237 | 0.6631 | 0.6277 | 0.6317 | 0.6408 | 0.6401 | 0.6331 | 0.6329 | 0.5883 | 0.8077 | 0.866 | 0.951 | 0.9502 | 0.9584 | 0.9792 | 1 | 1.0197 | 1.006 | 1.0111 | 1.0176 | 1.0096 | 0.7935 | 0.8821 | 0.955 | 0.9501 | 0.9612 | 0.9806 | 0.9959 | 1.0001 | 1.0112 | 1.0162 | 1.0085 | 1.0003 | 0.1375 | 0.1302 | 0.1721 | 0.3827 | 0.5484 | 0.6241 | 0.5789 | 0.6357 | 0.6326 | 0.6416 | 0.644 | 0.631 | 0.1245 | 0.1302 | 0.1754 | 0.3629 | 0.5254 | 0.6044 | 0.628 | 0.631 | 0.63 | 0.6342 | 0.6416 | 0.6284 | 0.8174 | 0.8527 | 0.8542 | 0.8568 | 0.8519 | 0.84 | 0.832 | 0.822 | 0.8122 | 0.8075 | 0.8011 | 0.7895 | 0.8274 | 0.86 | 0.8453 | 0.8767 | 0.8781 | 0.8495 | 0.8546 | 0.7253 | 0.8042 | 0.7914 | 0.778 | 0.7529
61 | 72000.637 | 37 | 0.3372 | 0.4853 | 0.7005 | 0.6905 | 0.6199 | 0.6041 | 0.6297 | 0.6234 | 0.6177 | 0.6084 | 0.6235 | 0.5256 | 0.3135 | 0.4552 | 0.7103 | 0.7242 | 0.6656 | 0.6289 | 0.6318 | 0.6414 | 0.6417 | 0.634 | 0.6355 | 0.5842 | 0.8038 | 0.8662 | 0.9548 | 0.9504 | 0.9537 | 0.9736 | 1.0019 | 1.0058 | 1.0038 | 1.0089 | 1.0144 | 1.0068 | 0.7886 | 0.8816 | 0.96 | 0.9497 | 0.9585 | 0.9756 | 0.9921 | 0.9971 | 1.0081 | 1.0133 | 1.0052 | 0.9974 | 0.1544 | 0.1315 | 0.1764 | 0.4055 | 0.5731 | 0.6411 | 0.5968 | 0.6484 | 0.6443 | 0.6529 | 0.6535 | 0.6405 | 0.1309 | 0.1314 | 0.1797 | 0.3855 | 0.5438 | 0.6224 | 0.6438 | 0.644 | 0.6416 | 0.6439 | 0.6505 | 0.6376 | 0.8156 | 0.8509 | 0.8521 | 0.854 | 0.8497 | 0.8403 | 0.8357 | 0.828 | 0.8195 | 0.8146 | 0.8078 | 0.797 | 0.8266 | 0.858 | 0.8439 | 0.8769 | 0.8812 | 0.8543 | 0.8607 | 0.73 | 0.8111 | 0.7979 | 0.7845 | 0.7544
62 | 73200.648 | 37 | 0.3383 | 0.4865 | 0.6996 | 0.7081 | 0.6231 | 0.6043 | 0.6313 | 0.6239 | 0.6181 | 0.6079 | 0.6287 | 0.5212 | 0.3148 | 0.4564 | 0.7105 | 0.7265 | 0.666 | 0.6292 | 0.6318 | 0.6406 | 0.6408 | 0.6305 | 0.6341 | 0.5818 | 0.8003 | 0.868 | 0.9584 | 0.9523 | 0.9515 | 0.9708 | 1.0044 | 1.0006 | 1.0021 | 1.0073 | 1.0138 | 1.0048 | 0.7838 | 0.8814 | 0.9615 | 0.9508 | 0.9561 | 0.9701 | 0.9844 | 0.9936 | 1.0041 | 1.0097 | 1.0027 | 0.9958 | 0.1438 | 0.1329 | 0.1815 | 0.4326 | 0.5984 | 0.6564 | 0.6139 | 0.6608 | 0.6563 | 0.665 | 0.6649 | 0.6504 | 0.1283 | 0.133 | 0.1853 | 0.4103 | 0.567 | 0.6401 | 0.654 | 0.6565 | 0.6537 | 0.656 | 0.6614 | 0.6465 | 0.8162 | 0.8482 | 0.8484 | 0.8524 | 0.8481 | 0.8392 | 0.8362 | 0.8323 | 0.8242 | 0.8215 | 0.8157 | 0.8037 | 0.8239 | 0.8546 | 0.8418 | 0.8748 | 0.8799 | 0.8554 | 0.8651 | 0.7338 | 0.8177 | 0.8049 | 0.7917 | 0.7635
63 | 74400.657 | 37 | 0.3399 | 0.489 | 0.6993 | 0.6916 | 0.624 | 0.605 | 0.6304 | 0.6253 | 0.6185 | 0.608 | 0.631 | 0.5218 | 0.316 | 0.4574 | 0.7101 | 0.7272 | 0.6638 | 0.628 | 0.6305 | 0.6388 | 0.6411 | 0.6307 | 0.6328 | 0.5804 | 0.7956 | 0.8673 | 0.9615 | 0.9546 | 0.9487 | 0.966 | 1.0029 | 0.9967 | 0.999 | 1.0045 | 1.0109 | 1.0026 | 0.7782 | 0.8895 | 0.969 | 0.9528 | 0.9549 | 0.9661 | 0.9797 | 0.9908 | 1.0007 | 1.0073 | 1.0019 | 0.9932 | 0.1411 | 0.1344 | 0.1868 | 0.4601 | 0.6215 | 0.6711 | 0.6281 | 0.6714 | 0.6662 | 0.6737 | 0.6725 | 0.6593 | 0.144 | 0.1345 | 0.1911 | 0.4352 | 0.5897 | 0.6535 | 0.6645 | 0.6672 | 0.6627 | 0.6651 | 0.6694 | 0.6533 | 0.8158 | 0.8445 | 0.8457 | 0.8493 | 0.8447 | 0.8371 | 0.8347 | 0.8344 | 0.8292 | 0.8266 | 0.8205 | 0.809 | 0.821 | 0.8528 | 0.8398 | 0.8737 | 0.8802 | 0.8565 | 0.8683 | 0.7382 | 0.8226 | 0.8111 | 0.7971 | 0.7693
64 | 75600.665 | 37 | 0.3404 | 0.4902 | 0.6984 | 0.6886 | 0.6247 | 0.605 | 0.6306 | 0.6261 | 0.6193 | 0.6096 | 0.6312 | 0.5211 | 0.3179 | 0.4586 | 0.7099 | 0.7297 | 0.6658 | 0.6291 | 0.6296 | 0.638 | 0.6374 | 0.6299 | 0.6323 | 0.5785 | 0.7918 | 0.8691 | 0.9607 | 0.9558 | 0.9457 | 0.9615 | 0.993 | 0.994 | 0.9958 | 1.0014 | 1.0084 | 0.9987 | 0.7738 | 0.8801 | 0.9663 | 0.9541 | 0.9523 | 0.9606 | 0.9765 | 0.9882 | 0.9967 | 1.003 | 1.0005 | 0.9895 | 0.1428 | 0.1358 | 0.1928 | 0.487 | 0.6415 | 0.6835 | 0.6413 | 0.6816 | 0.6757 | 0.6834 | 0.6816 | 0.6684 | 0.131 | 0.1357 | 0.1972 | 0.4583 | 0.6091 | 0.6661 | 0.6747 | 0.6752 | 0.6715 | 0.6744 | 0.6778 | 0.6594 | 0.815 | 0.8422 | 0.8423 | 0.8465 | 0.8417 | 0.834 | 0.8331 | 0.8338 | 0.8301 | 0.8303 | 0.8256 | 0.8138 | 0.818 | 0.85 | 0.8387 | 0.8719 | 0.8774 | 0.8548 | 0.8685 | 0.7398 | 0.8279 | 0.8167 | 0.8016 | 0.7735
65 | 76800.676 | 37 | 0.3414 | 0.4921 | 0.6959 | 0.6932 | 0.6258 | 0.6044 | 0.6311 | 0.6265 | 0.6172 | 0.6079 | 0.6304 | 0.5211 | 0.3192 | 0.4601 | 0.71 | 0.7327 | 0.6669 | 0.6297 | 0.6281 | 0.6356 | 0.6376 | 0.6309 | 0.6313 | 0.5782 | 0.7883 | 0.8681 | 0.9611 | 0.9583 | 0.9435 | 0.9581 | 0.986 | 0.9916 | 0.9928 | 1.0001 | 1.0058 | 0.9962 | 0.7695 | 0.8801 | 0.9656 | 0.9579 | 0.9528 | 0.9588 | 0.9751 | 0.9858 | 0.9945 | 1.0015 | 1.0006 | 0.987 | 0.1443 | 0.1373 | 0.1994 | 0.5141 | 0.6597 | 0.6939 | 0.6538 | 0.6901 | 0.6838 | 0.6908 | 0.6885 | 0.6716 | 0.1334 | 0.1375 | 0.2046 | 0.4839 | 0.6292 | 0.6782 | 0.6851 | 0.6831 | 0.6787 | 0.6813 | 0.6841 | 0.6654 | 0.8125 | 0.8399 | 0.84 | 0.8441 | 0.84 | 0.8319 | 0.8306 | 0.8317 | 0.8294 | 0.8319 | 0.8287 | 0.8184 | 0.8167 | 0.8471 | 0.8351 | 0.8694 | 0.8758 | 0.854 | 0.8685 | 0.7402 | 0.8319 | 0.8213 | 0.8071 | 0.777
End Time |  |  | A2: 2025-06-07 11:01:04
Warning | Execution of '96Well_GrowthCurve_OD600_NUNC' was interrupted by the user. | bar: A1 to A12